## Introduction
Thames Water Utilities Limited: Cost assessment 2017/18
The Cost Assessment 2017/18, contains detailed information about our company, and should be read in conjunction with the Annual Report 2017/18, which can be found on our website here: |  |  | www.thameswater.co.uk/annualresults
The Cost Assessment tables are required by our regulator, Ofwat, to provide extra information to our customers and stakeholders. The tables have been prepared in accordance with the Regulatory Accounting Guidelines ("RAGs") issued by Ofwat which are based on International Financial Reporting Standards ("IFRS"), International Accounting Standards ("IAS") and International Financial Reporting Interpretations Committee ("IFRIC") interpretations issued as ratified by the European Union.
Where different treatments are specified by Ofwat, the Regulatory Accounting Guidelines take precedence.
Please find details of the information contained in this document summarised below:
Table | Title | Link
4J | Atypical expenditure by business unit for the 12 months ended 31 March 2018 - wholesale water | 4J
4K | Atypical expenditure by business unit for the 12 months ended 31 March 2018 - wholesale wastewater | 4K
4L | Enhancement capital expenditure by purpose for the 12 months ended 31st March 2018 - wholesale water | 4L
4M | Enhancement capital expenditure by purpose for the 12 months ended 31st March 2018 - wholesale wastewater | 4M
4N | Operating expenditure - Sewage treatment for the 12 months ended 31 March 2018 | 4N
4O | Wholesale wastewater service - Large sewage treatment works for the 12 months ended 31 March 2018 | 4O
4P | Non-financial data for WR, WT and WD for the 12 months ended 31st March 2018 - wholesale water | 4P
4Q | Non-financial data - Properties, population and other for the 12 months ended 31 March 2018 - wholesale water | 4Q
4R | Non-financial data - Wastewater network and sludge for the 12 months ended 31st March 2018 - wholesale wastewater | 4R
4S | Non-financial data - Sewage treatment for the 12 months ended 31st March 2018 - wholesale wastewater | 4S
4T | Non-financial data -Sludge treatment for the 12 month ended 31st March 2018 - Wholesale wastewater | 4T
4U | Non-financial data - Properties, population and other for the 12 months ended 31st March 2018 - wholesale waste water | 4U
4V | Operating cost analysis for the 12 months ended 31 March 2018 - Water Resources | 4V
4W | Operating cost analysis for the 12 months ended 31 March 2018 - Sludge Treatment | 4W

## 4J
Pro forma 4J
Atypical expenditure by business unit for the 12 months ended 31 March 2018 - wholesale water
| Water resources |  | Network+ |  |  |  | Total
| Abstraction Licences | Raw Water Abstraction | Raw water transport | Raw water storage | Water treatment | Treated water distribution
| £m | £m | £m | £m | £m | £m | £m
Operating expenditure (excl. atypicals)
Power | 0 | 13.356 | 0.318 | 0 | 9.501 | 31.362 | 54.537
Income treated as negative expenditure | 0 | -0.122 | -0.01 | 0 | -0.118 | -0.014 | -0.264
Abstraction charges / discharge consents | 13.113 | 0.003 | 0 | 0 | 0 | 0 | 13.116
Bulk supply | 0 | 2.576 | 0 | 0 | 0 | 0.107 | 2.683
Other operating expenditure
- Renewals expensed in year (Infrastructure) | 0 | 0 | 0 | 0 | 0 | 63.096 | 63.096
- Renewals expensed in year (Non-Infrastructure) | 0 | 0 | 0 | 0 | 0 | 0 | 0
- Other operating expenditure excluding renewals | 0.79991 | 26.3165 | 1.6492 | 0 | 62.1289 | 162.1201 | 253.0147
Local authority and Cumulo rates | 0 | 3.495 | 6.302 | 0 | 5.734 | 60.44 | 75.971
Total operating expenditure excluding third party services | 13.9129 | 45.6245 | 8.2592 | 0 | 77.2459 | 317.1111 | 462.1537
Third party services | 0 | 2.334 | 0 | 0 | 0 | 3.722 | 6.056
Total Operating Expenditure | 13.9129 | 47.9585 | 8.2592 | 0 | 77.2459 | 320.8331 | 468.2097
Capital expenditure (excl. atypicals)
Maintaining the long term capability of the assets - infra | 0 | 6.2859 | 4.7197 | 0 | 0 | 134.5748 | 145.5804
Maintaining the long term capability of the assets - non-infra | 0.021489 | 15.5234 | 1.6178 | 0 | 76.1923 | 92.4027 | 185.7577
Other capital expenditure - infra | 0 | 1.9541 | 0.33529 | 0 | 0 | 64.914 | 67.2033
Other capital expenditure - non-infra | 0 | -1.3813 | 0.027081 | 0 | 7.5179 | 59.7446 | 65.9083
Infrastructure network reinforcement | 0 | 0 | 0.06417 | 0 | 0 | 8.226 | 8.2902
Total gross capital expenditure (excluding third party) | 0.021489 | 22.382 | 6.764 | 0 | 83.7102 | 359.8622 | 472.7399
Third party services | 0 | 0 | 0 | 0 | 0 | 0.036996 | 0.036996
Total gross capital expenditure | 0.021489 | 22.382 | 6.764 | 0 | 83.7102 | 359.8992 | 472.7769
Grants and contributions | 0 | 0 | 0 | 0 | 0.0045997 | 58.4413 | 58.4459
Totex | 13.9344 | 70.3406 | 15.0233 | 0 | 160.9515 | 622.291 | 882.5407
Cash expenditure (excl. atypicals)
Pension deficit recovery payments | 0.037131 | 1.0241 | 0.083415 | 0 | 2.9555 | 6.2501 | 10.3503
Other cash items | 0 | 0 | 0 | 0 | 0 | 0 | 0
Totex including cash items | 13.9715 | 71.3647 | 15.1067 | 0 | 163.907 | 628.5411 | 892.891
Atypical expenditure
Restructuring costs | 0.07309 | 0.25548 | 0.042764 | 0 | 0.38507 | 1.6349 | 2.3913
Total atypical expenditure | 0.07309 | 0.25548 | 0.042764 | 0 | 0.38507 | 1.6349 | 2.3913
Total expenditure | 14.0446 | 71.6201 | 15.1494 | 0 | 164.2921 | 630.176 | 895.2823

## 4K
Pro forma 4K
Atypical expenditure by business unit for the 12 months ended 31 March 2018 - wholesale wastewater
| Network+ Sewage collection |  |  | Network+ Sewage treatment |  | Sludge |  |  | Total
| Foul | Surface water drainage | Highway drainage | Sewage treatment and disposal | Sludge liquor treatment | Sludge transport | Sludge treatment | Sludge disposal
| £m | £m | £m | £m | £m | £m | £m | £m | £m
Operating expenditure (excl. atypicals)
Power | 6.862 | 2.184 | 1.257 | 54.193 | 0 | -0.005 | -13.833 | 0.038 | 50.696
Income treated as negative expenditure | -0.084 | -0.027 | -0.015 | -0.039 | 0 | 0 | -9.632 | -0.793 | -10.59
Discharge consents | 1.163 | 0.364 | 0.205 | 3.53 | 0.004 | 0.003 | 0.068 | 0.004 | 5.341
Bulk Discharge | 0 | 0 | 0 | 2.39 | 0 | 0.009 | 0.096 | 0.001 | 2.496
Other operating expenditure
- Renewals expensed in year (Infrastructure) | 45.965 | 14.603 | 8.419 | 0 | 0 | 0 | 0 | 0 | 68.987
- Renewals expensed in year (Non-Infrastructure) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
- Other operating expenditure excluding renewals | 56.173 | 15.502 | 7.25 | 109.143 | 0.758 | 10.982 | 49.799 | 19.023 | 268.63
Local authority and Cumulo rates | 0 | 0 | 0 | 28.538 | 0 | 0 | 9.005 | 0.851 | 38.394
Total operating expenditure excluding third party services | 110.0789 | 32.6261 | 17.1163 | 197.7551 | 0.76221 | 10.9886 | 35.5029 | 19.1238 | 423.954
Third party services | 3.026 | 0.396 | 0.105 | 0.478 | 0 | 0.016 | 0.049 | 0.027 | 4.097
Total Operating Expenditure | 113.1049 | 33.0221 | 17.2213 | 198.2331 | 0.76221 | 11.0046 | 35.5519 | 19.1508 | 428.0508
Capital expenditure (excl. atypicals)
Maintaining the long term capability of the assets - infra | 70.798 | -0.002 | 0.004 | 0 | 0 | 0 | 0 | 0 | 70.8
Maintaining the long term capability of the assets - non-infra | 28.021 | 3.5146 | 1.2258 | 115.4511 | 0.21594 | 1.2463 | 78.2327 | 7.6755 | 236.7758
Other capital expenditure - infra | 31.374 | -1.623 | 0 | 0 | 0 | 0 | 0 | 0 | 29.7512
Other capital expenditure - non-infra | 4.3296 | 0.10336 | 0.049055 | 137.3598 | 0.00015736 | 0.011147 | -1.2804 | 0.0018985 | 139.3819
Infrastructure network reinforcement | 3.838 | 3.471 | 0 | 0.011 | 0 | 0 | 0 | 0 | 7.32
Total gross capital expenditure (excluding third party) | 138.361 | 5.464 | 1.279 | 252.822 | 0.216 | 1.257 | 76.952 | 7.678 | 484.029
Third party services | 0.039926 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.039926
Total gross capital expenditure | 138.401 | 5.464 | 1.279 | 252.822 | 0.216 | 1.257 | 76.952 | 7.678 | 484.069
Grants and contributions | 34.8218 | 0.040262 | 0 | 0.61243 | 0 | 0 | 0 | 0 | 35.4745
Totex | 216.684 | 38.446 | 18.5 | 450.443 | 0.978 | 12.262 | 112.504 | 26.829 | 876.646
Cash expenditure (excl. atypicals)
Pension deficit recovery payments | 2.4822 | 0.69133 | 0.3126 | 3.7085 | 0.037493 | 0.16344 | 1.88 | 0.16489 | 9.439
Other cash items | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Totex including cash items | 219.166 | 39.137 | 18.813 | 454.151 | 1.015 | 12.425 | 114.384 | 26.994 | 886.085
Atypical expenditure
Restructuring costs | 0.57615 | 0.16792 | 0.087651 | 0.89595 | 0.0037941 | 0.060441 | 0.28409 | 0.10424 | 2.1802
Total atypical expenditure | 0.57615 | 0.16792 | 0.087651 | 0.89595 | 0.0037941 | 0.060441 | 0.28409 | 0.10424 | 2.1802
Total expenditure | 219.742 | 39.305 | 18.901 | 455.047 | 1.019 | 12.485 | 114.668 | 27.098 | 888.265

## 4L
Pro forma 4L
Enhancement capital expenditure by purpose for the 12 months ended 31st March 2018 - wholesale water
| Expenditure in report Year | [6 empty] | Cumulative expenditure on schemes completed in the report year
| Water Resources |  | Network+ |  |  |  | Total | Water Resources |  | Network+ |  |  |  | Total
| Abstraction licences | Raw water abstraction | Raw water transport | Raw water storage | Water treatment | Treated water distribution |  | Abstraction licences | Raw water abstraction | Raw water transport | Raw water storage | Water treatment | Treated water distribution
| £m | £m | £m | £m | £m | £m | £m | £m | £m | £m | £m | £m | £m | £m
Enhancement capital expenditure by purpose
NEP - Making ecological improvements at abstractions (Habitats Directive, SSSI, NERC, BAPs) | 0 | -0.60017 | 0.17721 | 0 | 8.0368e-08 | 2.2605 | 1.8376 | 0 | -1.5875 | 0 | 0 | 0 | -0.25992 | -1.8475
NEP - Eels Regulations (measures at intakes) | 0 | -0.49402 | 0 | 0 | 0 | 0 | -0.49402 | 0 | -0.011496 | 0 | 0 | 0 | 0 | -0.011496
Addressing low pressure | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Improving taste / odour / colour | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Meeting lead standards | 0 | 0 | 0 | 0 | -0.071269 | 7.8831 | 7.8118 | 0 | 0 | 0 | 0 | -0.076675 | 7.8464 | 7.7698
Supply side enhancements to the supply/demand balance (dry year critical / peak conditions) | 0 | 0.015008 | 0.00048551 | 0 | 0 | 2.7405e-10 | 0.015494 | 0 | 0.14449 | -0.0001588 | 0 | 0.1365 | 0 | 0.28083
Supply side enhancements to the supply/demand balance (dry year annual average conditions) | 0 | 1.304 | 0.15269 | 0 | 0.00017655 | 1.3104e-05 | 1.4569 | 0 | 0.84323 | -0.0001588 | 0 | 0.1365 | 0 | 0.97957
Demand side enhancements to the supply/demand balance (dry year critical / peak conditions) | 0 | 0.0014587 | 0.0089432 | 0 | 0 | 11.3434 | 11.3538 | 0 | 0.12894 | 0 | 0 | 0.1365 | 2.824 | 3.0895
Demand side enhancements to the supply/demand balance (dry year annual average conditions) | 0 | 0.34446 | 0.131 | 0 | 0.00026483 | 5.0651 | 5.5408 | 0 | 0.12894 | 0.0049154 | 0 | 0.1365 | 4.694 | 4.9644
New developments | 0 | 0 | 0 | 0 | 0 | 21.1294 | 21.1294 | 0 | 0.24024 | 0 | 0 | 0 | 26.984 | 27.2242
New connections element of new development (CPs, meters) | 0 | 0 | 0 | 0 | 0 | 27.9802 | 27.9802 | 0 | 0 | 0 | 0 | 0 | 27.8755 | 27.8755
Investment to address raw water deterioration (THM, nitrates, Crypto, pesticides, others) | 0 | 0 | 0 | 0 | 0.17248 | 0 | 0.17248 | 0 | 0.033007 | 0 | 0 | 0.16624 | 0 | 0.19925
Resilience | 0 | 0.014009 | 0 | 0 | -0.080956 | 0.024694 | -0.042252 | 0 | 0 | 0 | 0 | 0.033125 | 0.33612 | 0.36924
SEMD | 0 | -0.011959 | -0.043786 | 0 | 7.4972 | 4.2023 | 11.6438 | 0 | -0.057212 | 0.11381 | 0 | 6.3574 | 4.9958 | 11.4098
NEP - Investigations | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Improvements to river flows | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Metering (excluding cost of providing metering to new service connections) - meters requested by optants | 0 | 0 | 0 | 0 | 0 | 7.3821 | 7.3821 | 0 | 0 | 0 | 0 | 0 | 7.3483 | 7.3483
Metering (excluding cost of providing metering to new service connections)- meters introduced by companies | 0 | 0 | 0 | 0 | 0 | 45.6138 | 45.6138 | 0 | 0 | 0 | 0 | 0 | 45.7639 | 45.7639
Metering (excluding cost of providing metering to new service connections) - other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NEP - Flow monitoring at water treatment works | 0 | 1.4106e-06 | 0 | 0 | 0 | 0 | 1.4106e-06 | 0 | 1.4042e-06 | 0 | 0 | 0 | 0 | 1.4042e-06
Total enhancement capital expenditure | 0 | 0.57277 | 0.42654 | 0 | 7.5179 | 132.8846 | 141.4018 | 0 | -0.13739 | 0.11841 | 0 | 7.0261 | 128.4082 | 135.4152

## 4M
Pro forma 4M
Enhancement capital expenditure by purpose for the 12 months ended 31st March 2018 - wholesale wastewater
| Expenditure in report Year | [8 empty] | Cumulative expenditure on schemes completed in the report year
| Network+ Sewage Collection |  |  | Network+ Sewage treatment |  | Sludge |  |  | Total | Network+ Sewage Collection |  |  | Network+ Sewage Treatment |  | Sludge |  |  | Total
| Foul | Surface water drainage | Highway drainage | Sewage treatment and disposal | Sludge liquor treatment | Sludge transport | Sludge treatment | Sludge distribution |  | Foul | Surface water drainage | Highway Drainage | Sewage treatment and disposal | Sludge liquor treatment | Sludge transport | Sludge treatment | Sludge distribution
| £m | £m | £m | £m | £m | £m | £m | £m | £m | £m | £m | £m | £m | £m | £m | £m | £m | £m
Enhancement capital expenditure by purpose
First time sewerage (s101A) | 0.48085 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.48085 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sludge enhancement (quality) | 0 | 0 | 0 | 0 | 0 | 0 | -0.0082774 | 0 | -0.0082774 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sludge enhancement (growth) | 0 | 0 | 0 | 0 | 0 | -4.2173e-05 | -1.4948 | 0 | -1.4948 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46895 | 0 | 0.46895
NEP - Conservation drivers | 0 | 0.010079 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010079 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NEP - Eels Regulations (measures at outfalls) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NEP - Event Duration Monitoring at intermittent discharges | 1.2386 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2386 | 0.75183 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75183
NEP - Flow monitoring at sewage treatment works | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NEP - Monitoring of pass forward flows at CSOs | 0.45939 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.45939 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NEP - Schemes to increase flow to full treatment | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NEP - Schemes to increase storm tank capacity | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NEP - Storage schemes to reduce spill frequency at CSOs, storm tanks, etc | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NEP - Chemicals monitoring/ investigations/ options appraisals | 0 | 0 | 0 | 2.5907 | 0 | 0 | 0 | 0 | 2.5907 | 0 | 0 | 0 | 3.213 | 0 | 0 | 0 | 0 | 3.213
NEP - National phosphorus removal technology investigations | 0 | 0 | 0 | 0.041648 | 0 | 0 | 0 | 0 | 0.041648 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NEP - Groundwater schemes | 0.047517 | 0 | 0 | 0.0024695 | 0 | 0 | 0 | 0 | 0.049986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NEP - Investigations | 0 | 0 | 0 | 2.1116 | 0 | 0 | 0 | 0 | 2.1116 | 0 | 0 | 0 | 3.071 | 0 | 0 | 0 | 0 | 3.071
NEP - Nutrients (N removal) | 0 | 0 | 0 | -1.6668e-15 | 0 | 0 | 0 | 0 | -1.6668e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NEP - Nutrients (P removal at activated sludge STWs) | 0 | 0 | 0 | 10.1229 | 0 | 0 | 0 | 0 | 10.1229 | 0 | 0 | 0 | 12.789 | 0 | 0 | 0 | 0 | 12.789
NEP - Nutrients (P removal at filter bed STWs) | 0 | 0 | 0 | 8.9506 | 0 | 0 | 0 | 0 | 8.9506 | 0 | 0 | 0 | 10.2908 | 0 | 0 | 0 | 0 | 10.2908
NEP - Reduction of sanitary parameters | 0 | 0 | 0 | 70.994 | 0 | 0 | 0 | 0 | 70.994 | 0 | 0 | 0 | 22.7008 | 0 | 0 | 0 | 0 | 22.7008
NEP - UV disinfection (or similar) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NEP - Discharge relocation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NEP - Flow 1 schemes | 0 | 0 | 0 | 1.2021 | 0 | 0 | 0 | 0 | 1.2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Odour | 0 | 0 | 0 | 9.7464 | 0 | 0 | 0.0012096 | -0.00021261 | 9.7474 | 0 | 0 | 0 | 4.5962 | 0 | 0 | 0 | 0 | 4.5962
New development and growth | 14.1402 | 1.7717 | 0 | 0 | 0 | 0 | 0 | 0 | 15.9119 | 9.9731 | 1.084 | 0 | 0 | 0 | 0 | 0 | 0 | 11.0572
Growth at sewage treatment works (excluding sludge treatment) | 0 | 0 | 0 | 27.0739 | 0 | 0 | 0 | 0 | 27.0739 | 0 | 0 | 0 | 1.1443 | 0 | 0 | 0 | 0 | 1.1443
Resilience | 0 | 0 | 0 | 1.129 | 0 | 0 | 0 | 0 | 1.129 | 0 | 0 | 0 | 0.54707 | 0 | 0 | 0.25351 | 0 | 0.80058
SEMD | -0.014735 | 0 | 0 | 3.2523 | 0 | -2.0092e-08 | 0 | -2.6401e-05 | 3.2376 | 0 | 0 | 0 | 9.6664 | 0 | 0 | 0 | 0 | 9.6664
Reduce flooding risk for properties | 14.9165 | 0.063019 | 0 | -0.032912 | 0 | 0 | 0 | 0 | 14.9466 | 6.6978 | 0.065819 | 0 | 0.00019692 | 0 | 0 | 0 | 0 | 6.7638
Quality spend at CSOs and quality allocation to Deephams inlet works | 0.28527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.28527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tideway quality (NEP). Excludes Lee Tunnel and sludge. | -0.0015728 | 0 | 0 | -0.27764 | 0 | 1.0749e-06 | 0 | 0 | -0.27921 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lee Tunnel | 7.6286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.6286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-SEMD related security enhancement | 0.36144 | 0.10648 | 0.049055 | 0.46368 | 0.00015736 | 0.011188 | 0.22144 | 0.0021375 | 1.2156 | 0.31113 | 0.11121 | 0.049055 | 0.57506 | 0.00015664 | 0.011188 | 0.22144 | 0.0021364 | 1.2814
Total enhancement capital expenditure | 39.542 | 1.9513 | 0.049055 | 137.3707 | 0.00015736 | 0.011147 | -1.2804 | 0.0018985 | 177.6458 | 17.7339 | 1.261 | 0.049055 | 68.5938 | 0.00015664 | 0.011188 | 0.9439 | 0.0021364 | 88.5952

## 4N
Pro forma 4N
Operating expenditure - Sewage treatment for the 12 months ended 31 March 2018
| Network+ | Sludge | Total
| £m | £m | £m
Direct costs of STWs in size band 1 | 722.7662 | 0 | 722.7662
Direct costs of STWs in size band 2 | 816.1053 | 0 | 816.1053
Direct costs of STWs in size band 3 | 2398.3988 | 0 | 2398.3988
Direct costs of STWs in size band 4 | 7216.9713 | 0 | 7216.9713
Direct costs of STWs in size band 5 | 8006.7555 | 0 | 8006.7555
General & support costs of STWs in size bands 1 to 5 | 2894.3406 | 0 | 2894.3406
Direct costs of STWs in size band 6 | 129041.7251 | 0 | 129041.7251
General & support costs of STWs in size band 6 | 19783.0667 | 0 | 19783.0667
Service charges for STWs in size band 6 | 2096.0568 | 0 | 2096.0568
Estimated terminal pumping costs size band 6 works | 769.6314 | 0 | 769.6314
Estimated sludge costs in size band 6 works | 0 | 0 | 0
Total operating expenditure (excluding 3rd party services) | 170880.1294 | 0 | 170880.1294

## 4O
Pro forma 4O
Wholesale wastewater service - Large sewage treatment works for the 12 months ended 31 March 2018
Units
Sewage treatment works - Explanatory variables
Works name | text | ABINGDON | ALDERSHOT | ALTON | ASCOT | AYLESBURY | BANBURY | BASINGSTOKE | BECKTON | BEDDINGTON | BICESTER | BISHOP'S STORTFORD | BLACKBIRDS | BORDON | BRACKNELL | BRENTWOOD | CAMBERLEY | CHERTSEY | CHESHAM | CIRENCESTER | CRAWLEY | CROSSNESS | DEEPHAMS | DIDCOT | DORKING | ESHER | FARNHAM | FLEET | GODALMING | GUILDFORD | HARPENDEN | HOGSMILL (A) | HOGSMILL (A & B) | HORLEY | LEATHERHEAD | LITTLE MARLOW | LONG REACH | LUTON (EAST HYDE) | MAIDENHEAD | MAPLE LODGE | MOGDEN | NEWBURY | OXFORD | READING | REIGATE | RIVERSIDE | RYE MEADS | SANDHURST | SLOUGH | SWINDON | WANTAGE | WARGRAVE | WINDSOR | WITNEY | WOKING | BERKHAMSTED | HOGSMILL | WISLEY
Classification of treatment works | text | 3B2 | 3A2 |  | 3A2 | 3A2 | 3A2 | 3A2 | 2A | 2A | 3A2 | 3A2 | 3A2 | 2A | 3B2 | 3B1 | 3A2 | 3B2 | 3A2 | 3A2 | 3A2 | 2A | 3A2 | 3A2 | 3A2 | 3A2 | 3A2 | 3A2 | 3B2 | 3B2 | 3B2 |  | 3A2 | 3A2 | 3A2 | 3A2 | 2A | 3A2 | 3A2 | 3A2 | 2A | 3A2 | 3A2 | 3A2 | 3B2 | 2A | 3A2 | 3B2 | 3A2 | 3A2 | 3B2 | 3A2 | 3B2 | 3A2 | 3B2
Population equivalent of total load received | 0 | 39.4657 | 39.2275 |  | 26.9169 | 120.8533 | 90.7034 | 135.7185 | 3757.7157 | 405.6109 | 49.2212 | 59.897 | 91.8396 | 36.8717 | 87.4983 | 35.5928 | 140.5469 | 94.7593 | 33.6589 | 31.9647 | 152.915 | 1950.1993 | 909.553 | 42.9656 | 29.72 | 112.9896 | 44.5155 | 45.275 | 30.7202 | 95.9147 | 37.3484 |  | 394.1501 | 37.0225 | 48.801 | 184.3718 | 868.0018 | 170.6815 | 82.5763 | 503.9043 | 2010.7847 | 88.6592 | 210.6561 | 210.0312 | 67.2746 | 423.3844 | 411.3206 | 36.4904 | 213.0479 | 223.1862 | 27.2093 | 120 | 41.4 | 48.7751 | 79.7
Suspended solida consent | mg/l | 25 | 20 |  | 30 | 15 | 15 | 10 | 45 | 15 | 25 | 22 | 10 | 25 | 30 | 20 | 20 | 30 | 20 | 25 | 10 | 45 | 10 | 20 | 40 | 25 | 20 | 25 | 25 | 45 | 20 |  | 25 | 30 | 25 | 15 | 50 | 15 | 15 | 15 | 45 | 30 | 45 | 30 | 30 | 45 | 15 | 20 | 15 | 17 | 40 | 45 | 30 | 15 | 45
BODs consent | mg/l | 10 | 9 |  | 10 | 10 | 11 | 10 | 18 | 10 | 10 | 9 | 7 | 10 | 18 | 10 | 10 | 12 | 7 | 8 | 7 | 18 | 5 | 10 | 40 | 12 | 10 | 12 | 10 | 20 | 13 |  | 9 | 15 | 10 | 9 | 22 | 8 | 12 | 15 | 18 | 10 | 10 | 5 | 17 | 18 | 6 | 9 | 10 | 11 | 30 | 18 | 20 | 8 | 25
Ammonia consent | mg/l | 3 | 2 |  | 5 | 2 | 2 | 1 | 2.5 | 2.5 | 2 | 2 | 1.4 | 4 | 2 | 2 | 3 | 1.3 | 2 | 4 | 3 | 2.5 | 1 | 9 | 5 | 2 | 3 | 2.5 | 4 | 6 | 6 |  | 3 | 8 | 2 | 5 | 4.5 | 2 | 2 | 1 | 2.5 | 2 | 3 | 2 | 5 | 2.5 | 2 | 5 | 3 | 1 | 5 | 15 | 10 | 3 | 3
Phosphorus consent | mg/l | 2 | 2 |  | 2 | 1 | 2 | 1 |  |  | 2 | 2 | 1 | 2 | 2 |  | 1 | 2 | 2 | 2 | 1 |  | 1 | 2 | 2 | 1 | 2 | 2 | 2 | 2 | 2 |  | 1 | 2 | 2 | 1 |  | 1 | 2 | 1 |  | 1 | 1 | 1 | 2 |  | 1 | 2 | 1 | 1 | 2 | 1 | 2 | 2 | 2
UV consent | mW/s/cm2 | None | None |  | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None |  | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None
Load received by STW | kgBODs/d | 2367.9419 | 2353.6523 | 0 | 1615.0113 | 7251.1962 | 5442.2033 | 8143.109 | 225462.9395 | 24336.6533 | 2953.275 | 3593.8225 | 5510.376 | 2212.3004 | 5249.8974 | 2135.5665 | 8432.8144 | 5685.5581 | 2019.5347 | 1917.8839 | 9174.8981 | 117011.9606 | 54573.1773 | 2577.9365 | 1783.2007 | 6779.3741 | 2670.9274 | 2716.4997 | 1843.211 | 5754.8824 | 2240.9016 | 0 | 23649.0081 | 2221.347 | 2928.0571 | 11062.3081 | 52080.1087 | 10240.8892 | 4954.5781 | 30234.2585 | 120647.0834 | 5319.5512 | 12639.3669 | 12601.8704 | 4036.4787 | 25403.0658 | 24679.2335 | 2189.4228 | 12782.8734 | 13391.1735 | 1632.5557 | 7200 | 2484 | 2926.504 | 4782 | 0 | 0 | 0
Flow passed to Full Treatment | m3/d | 12547.8607 | 11128.4173 |  | 8610.0403 | 30306.8289 | 18922.7186 | 27946.924 | 1195640.1383 | 113126.8426 | 15522.571 | 18682.4365 | 22035.5658 | 7416.1708 | 19502.7262 | 9884.7053 | 32060.391 | 24519.203 | 9009.5881 | 11925.5797 | 36236.3642 | 566372.9314 | 226110.5385 | 14347.3391 | 6557.4046 | 31064.3132 | 10103.4309 | 11146.0045 | 7551.794 | 26867.0792 | 5788.4849 |  | 63376.802 | 7986.0469 | 15831.8851 | 32252.2094 | 214054.8877 | 33003.3771 | 18128.9117 | 115762.5596 | 524222.9024 | 28523.4036 | 48652.0791 | 60498.3499 | 14947.3587 | 109706.9079 | 95071.1496 | 7436.3158 | 71736.7963 | 56839.6552 | 7822.273 | 28581.9696 | 11029.0269 | 12742.0167 | 19443.7317
Sewage treatment works + Operating expenditure
Direct expenditure | £m | 369.5191 | 592.632 |  | 337.3842 | 1807.5315 | 1077.086 | 804.5627 | 21804.3196 | 2066.589 | 737.5486 | 1383.0934 | 801.9073 | 532.0264 | 855.0832 | 243.8606 | 1931.7384 | 2185.9181 | 475.8997 | 1214.3968 | 2468.8475 | 15376.7717 | 5732.7025 | 1166.8753 | 476.5421 | 1233.0784 | 963.3586 | 693.6093 | 408.5088 | 1267.3654 | 368.1999 |  | 3136.116 | 533.4396 | 665.9477 | 1901.1708 | 6016.7268 | 2401.5674 | 761.2076 | 4720.0187 | 10070.6035 | 1955.6893 | 4995.7091 | 2444.2039 | 881.6314 | 6089.688 | 3342.8207 | 324.7975 | 2060.5042 | 3177.4511 | 380.336 | 1109.287 | 702.1185 | 1179.7976 | 813.9363
General and support expenditure | £m | 58.2101 | 88.3451 |  | 50.2947 | 275.6178 | 169.0691 | 146.0664 | 3299.6177 | 312.1695 | 117.3608 | 215.9894 | 119.5423 | 79.4203 | 136.2498 | 36.3529 | 295.536 | 328.7771 | 72.9826 | 195.6047 | 387.6719 | 2306.315 | 869.9655 | 178.0028 | 76.5819 | 184.4605 | 148.0966 | 103.398 | 60.8974 | 196.698 | 55.4464 |  | 471.8449 | 79.7818 | 99.2744 | 289.2458 | 908.4116 | 365.8755 | 115.7135 | 737.5055 | 1633.2609 | 303.5092 | 759.4862 | 374.7257 | 133.3131 | 926.5437 | 510.9694 | 48.4739 | 324.6831 | 488.4408 | 56.6976 | 181.3414 | 107.1184 | 180.6419 | 121.4681
Functional expenditure | £m | 427.7292 | 680.9771 | 0 | 387.6789 | 2083.1494 | 1246.1552 | 950.6291 | 25103.9374 | 2378.7585 | 854.9094 | 1599.0829 | 921.4495 | 611.4468 | 991.333 | 280.2135 | 2227.2744 | 2514.6952 | 548.8823 | 1410.0015 | 2856.5194 | 17683.0867 | 6602.6679 | 1344.8781 | 553.124 | 1417.539 | 1111.4552 | 797.0074 | 469.4062 | 1464.0634 | 423.6463 | 0 | 3607.9609 | 613.2214 | 765.2222 | 2190.4166 | 6925.1384 | 2767.4429 | 876.9211 | 5457.5242 | 11703.8644 | 2259.1985 | 5755.1953 | 2818.9296 | 1014.9445 | 7016.2316 | 3853.79 | 373.2713 | 2385.1873 | 3665.8919 | 437.0336 | 1290.6284 | 809.2369 | 1360.4395 | 935.4043 | 0 | 0 | 0
Service charges | £m | 7.7918 | 7.7946 |  | 5.7436 | 14.5336 | 11.0631 | 21.4793 | 370.851 | 112.4037 | 5.9095 | 9.3206 | 20.8456 | 9.2296 | 10.5098 | 10.9238 | 44.7043 | 49.5188 | 7.9841 | 3.8436 | 59.032 | 0 | 112.4562 | 8.4822 | 4.2186 | 13.5727 | 15.018 | 10.4292 | 6.0559 | 11.5188 | 7.4477 |  | 77.7209 | 7.3285 | 11.1004 | 22.1007 | 171.2227 | 27.541 | 18.8569 | 73.8931 | 241.4258 | 11.4684 | 25.3437 | 25.2236 | 22.3426 | 197.4572 | 78.0548 | -0.27441 | 25.5839 | 26.785 | 5.3655 | 14.4135 | 8.6561 | 5.8615 | 25.9038
Estimated terminal pumping expenditure | £m | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 72.846 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 88.9562 | 0 | 0 | 0 | 0 | 0 | 0 | 188.176 | 0 | 66.3725 | 353.2808 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 4P
Pro forma 4P
Non-financial data for WR, WT and WD for the 12 months ended 31st March 2018 - wholesale water
| Units | Input | Company commentary
Water resources
Proportion of distribution input derived from impounding reservoirs | Propn 0 to 1 | 0.0364 | 1 Impounding reservoir, using abstraction returns data
Proportion of distribution input derived from pumped storage reservoirs | Propn 0 to 1 | 0.7174 | Multiple pumped storage reservoirs are fed by both surface and groundwater sources.
Proportion of distribution input derived from river abstractions | Propn 0 to 1 | 0.0194 | Surface water sources that are treated without entering a pumped reservoir.
Proportion of distribution input derived from groundwater works, excluding managed aquifer recharge (MAR) water supply schemes | Propn 0 to 1 | 0.2229 | Groundwater sources that do not feed into pumped reservoirs, excluding the North London Artificial Recharge Scheme.
Proportion of distribution input derived from artificial recharge (AR) water supply schemes | Propn 0 to 1 | 0.004 | Additional boreholes brought into supply from the North London Artificial Recharge Scheme
Proportion of distribution input derived from aquifer storage and recovery (ASR) water supply schemes | Propn 0 to 1 | 0 | We do not have any of these assets.
Number of impounding reservoirs | nr | 1
Number of pumped storage reservoirs | nr | 25
Number of river abstractions | nr | 15 | The change is related to a surface water intake on the Thames, Surbiton, that was in use this year as it was a predominantly dry year.
Number of groundwater works excluding managed aquifer recharge (MAR) water supply schemes | nr | 111 | Increased requirement to use groundwater sources in AR18 (increase of 3)
Number of artificial recharge (AR) water supply schemes | nr | 8 | Slightly increased need to operate AR sources in AR18 (increase of 1)
Number of aquifer storage and recovery (ASR) water supply schemes | nr | 0
Total number of sources | nr | 160
Total number of water reservoirs | nr | 26
Total capacity of water reservoirs | Ml | 220361
Total number of intake and source pumping stations | nr | 174
Total number of raw water transfer stations | nr | 11 | New line for 2017/18
Total capacity of intake and source pumping stations | kW | 43151 | Large variation (>10%) from previous year for two reasons. 1) significant amount moved into line 4P.19 2) more accurate data on pumps available.
Total capacity of raw water transfer pumping stations | kW | 11913 | New line for 2017/18
Total length of raw water mains and conveyors | km | 260.57
Average pumping head - resources | m.hd | 19.49
Average pumping head - raw water transport | m.hd | 0 | In line with additional guidance provided for the resubmission of APH in November 2017, we have combined the Resources and Raw water transport into line 21 (resources).
Water treatment
Total water treated at all SW simple disinfection works | Ml/d | 0
Total water treated at all SW1 works | Ml/d | 0
Total water treated at all SW2 works | Ml/d | 0
Total water treated at all SW3 works | Ml/d | 0
Total water treated at all SW4 works | Ml/d | 15.56
Total water treated at all SW5 works | Ml/d | 2089.9
Total water treated at all SW6 works | Ml/d | 2.3
Total water treated as all GW simple disinfection works | Ml/d | 0
Total water treated as all GW1 works | Ml/d | 0
Total water treated as all GW2 works | Ml/d | 270.53
Total water treated as all GW3 works | Ml/d | 53.49
Total water treated as all GW4 works | Ml/d | 226.98
Total water treated as all GW5 works | Ml/d | 67.85
Total water treated as all GW6 works | Ml/d | 0
Total water treated at more than one type of works | Ml/d | 0
Total number of SW simple disinfection works | nr | 0
Total number of SW1 works | nr | 0
Total number of SW2 works | nr | 0
Total number of SW3 works | nr | 0
Total number of SW4 works | nr | 1
Total number of SW5 works | nr | 10 | 2017/18: 2 works out of service. Grimsbury AWTW has been decommissioned and is no longer in the reported number.
Total number of SW6 works | nr | 1
Total number of GW simple disinfection works | nr | 0
Total number of GW1 works | nr | 0
Total number of GW2 works | nr | 48 | 2017/18: 3 works out of service.
Total number of GW3 works | nr | 10 | 2017/18: 1 works out of service.
Total number of GW4 works | nr | 23 | 2017/18: 5 works out of service.
Total number of GW5 works | nr | 4 | 2017/18: 1 works out of service.
Total number of GW6 works | nr | 0
Number of treatment works requiring remedial action because of raw water deterioration | nr | 0 | The improvement programme completion date that is given to the DWI is the date used for Ofwat reporting
Zonal population receiving water treated with orthophosphate | 000's | 9366.936 | Data is reported on a calendar year basis in line with DWI requirements.
Average pumping head - treatment | m.hd | 15.01
Water distribution
Total length of potable mains as at 31 March | km | 31460.6
Total length of mains relined | km | 0.3
Total length of mains renewed | km | 126.19
Total length of new mains | km | 122.8
Potable water mains (<320mm) | km | 28422.7
Potable water mains 320mm - 450mm | km | 927.9
Potable water mains 450mm - 610mm | km | 1046.5
Potable water mains > 610mm | km | 1063.4
Total length of non-potable and partially treated main for supplying customers | km | 3.9
Total length of non-potable and partially treated main for treatment | km | 0 | There are zero kilometers I the GIS database of non-potable and partially treated main for treatment. This is because in line with procedures to digitise asset mapping at an appropriate scale, mains transporting partially treated water within treatment sites are not mapped as they are too small. We also do not support a main content of partially treated water.
Capacity of booster pumping stations | kW | 114349
Capacity of service reservoirs | Ml | 3259
Capacity of water towers | Ml | 18
Distribution input | Ml/d | 2680.88
Water delivered (non-potable) | Ml/d | 0
Water delivered (potable) | Ml/d | 2168.81
Water delivered (billed measured residential) | Ml/d | 493.12
Water delivered (billed measured business) | Ml/d | 481.82
Total leakage | Ml/d | 694.65
Distribution losses | Ml/d | 494.08
Water taken unbilled | Ml/d | 60.53
Number of lead communication pipes | nr | 1231603.94
Number of galvanised iron communication pipes | nr | 270382.85
Number of other communication pipes | nr | 1057768.21
Number of boost pumping stations | nr | 315
Total number of service reservoirs | nr | 243
Number of water towers | nr | 29
Total length of mains laid or structurally refurbished pre 1880 | km | 4734.7
Total length of mains laid or structurally refurbished between 1880 and 1900 | km | 3171.4
Total length of mains laid or structurally refurbished between 1901 and 1920 | km | 3917.8
Total length of mains laid or structurally refurbished between 1921 and 1940 | km | 5295.7
Total length of mains laid or structurally refurbished between 1941 and 1960 | km | 2855.4
Total length of mains laid or structurally refurbished between 1961 and 1980 | km | 4514.7
Total length of mains laid or structurally refurbished between 1981 and 2000 | km | 2845.7
Total length of mains laid or structurally refurbished post 2001 | nr | 4125.1
Average pumping head - distribution | m.hd | 76.58
Band Disclosure (nr)
WTWs in size band 1 | nr | 20
WTWs in size band 2 | nr | 11
WTWs in size band 3 | nr | 16
WTWs in size band 4 | nr | 14
WTWs in size band 5 | nr | 9
WTWs in size band 6 | nr | 5
WTWs in size band 7 | nr | 2
WTWs in size band 8 | nr | 4
Band Disclosure (%)
Proportion of Total DI band 1 | % | 0.7%
Proportion of Total DI band 2 | % | 1.1%
Proportion of Total DI band 3 | % | 3.3%
Proportion of Total DI band 4 | % | 5.5%
Proportion of Total DI band 5 | % | 6.5%
Proportion of Total DI band 6 | % | 8.5%
Proportion of Total DI band 7 | % | 5.7%
Proportion of Total DI band 8 | % | 68.7%

## 4Q
Pro forma 4Q
Non-financial data - Properties, population and other for the 12 months ended 31 March 2018 - wholesale water
| Units | Input | Company commentary
Properties and population
Residential properties billed for measured water (external meter) | 000's | 1081.5692
Residential properties billed for measured water (not external meter) | 000's | 267.0208
Business properties billed for measured water | 000's | 163.379
Residential properties billed for unmeasured water | 000's | 2117.4765
Business properties billed for unmeasured water | 000's | 35.801
Total business connected properties at year end | 000's | 218.953
Total residential properties at year end | 000's | 3607.469
Total connected properties at year end | 000's | 3826.422
Number of residential meters renewed | 000's | 19.11 | The number of meters renewed is made up of reactive requests from customers and meter readers. The delivery of the proactive programme was delayed following an optimisation of the metering programmes workstreams until later in the AMP.
Number of business meters renewed | 000's | 0.553 | The volume of replacements is significantly less than the previous year and is driven by less work being raised by Retailers in the first year of competition.
Number of meter installed at request of optants | 000's | 16.559 | There have been fewer Optant meters installed against forecast in the year which can be partially attributed to the wider increase in meter penetration as a result of the selective metering programme in London and because our customers on the selective journey are switching during annual billing process reducing Optant applications.
Number of selective meters installed | 000's | 98.053 | The Selective (Progressive) Metering programme continues apace across London with more than 243,000 installs now complete. Following an optimisation of the metering programmes workstreams delivery for the remainder of the AMP, a revised programme of 300,000 installs has been agreed.
Total number of new business connections | 000's | 2.883
Total number of new residential connections | 000's | 36.028
Total population served | 000's | 10012.827
Number of business meters (billed properties) | 000's | 198.784 | The business population has decreased due to large amount of movement whilst cleansing properties to correct categories for C17.
Number of residential meters (billed properties) | 000's | 1486.352 | The methodology for reporting the number of household meters (billed properties) follows the same process used in last year’s Cost Assessment. No substantive changes to the methodology have been made to derive the figures for the 2017/18 return. The increase in the number of household meters (billed properties) is in line with previous years’ reporting.
Company Area | km2 | 8008
Other
Number of lead communication pipes replaced for water quality | nr | 7591 | A review of how the programme was delivered was carried out in July 17 and a revised profile was agreed with the DWI. This has resulted in the highest number of outputs in the AMP to date.
Total supply side enhancements to the supply demand balance (dry year critical / peak conditions) | Ml/d | 0 | No schemes were planned or delivered this year.
Total supply side enhancements to the supply demand balance (dry year annual average conditions) | Ml/d | 0 | No schemes were planned or delivered this year.
Total demand side enhancements to the supply demand balance (dry year critical / peak conditions) | Ml/d | 8.71 | The benefits for demand side schemes have been split between annual average and critical period according to the cost allocation. The Ml/d increase in 2017/18 is due to the increase in water efficiency activity through Smarter Home Visits. We have followed the RAG4 guidance in completing table 4Q (lines 20-23) and table 4L (lines 6-9). The savings reported in table 4Q do not fully correlate with costs in table 4L as investment spend is not aligned with benefits delivered, i.e. benefit comes at the end of scheme delivery. There is a separate line for metering costs (line 18) although the savings associated with metering are reported in table 4Q, lines 22 & 23. Seventy-six percent of the total cost in line 8 is for the Angelinos trunk main (an enhancement to our distribution network) but no demand savings are associated with this scheme.
Total demand side enhancements to the supply demand balance (dry year annual average conditions) | Ml/d | 4.25 | Commentary for line 22 applies
Energy consumption - network pus | kWh | 418037.138
Energy consumption - water resources | kWh | 140141.027
Energy consumption - wholesale | kWh | 558178.165
Peak factor | % | 1.1245
Mean zonal compliance | % | 0.9996
Volume of leakage above or below the sustainable economic level | Ml/d | 74.75 | Performance is above the SELL

## 4R
Pro forma 4R
Non-financial data - Wastewater network and sludge for the 12 months ended 31st March 2018 - wholesale wastewater
| Units | Input | Company commentary
Wastewater network
Connectable properties served by s101A schemes completed in the report year | nr | 0
Number of s101A schemes completed in the report year | nr | 0
Total pumping station capacity | kW | 144319 | This reported figure does not include off-line storage return pumps.
Number of network pumping stations | nr | 6958 | This reported figure does not include off-line storage return pumps.
Total number of sewer blockages | nr | 77402 | Sewer blockages have decreased by 4% from 80,747 in 2016/17 to 77,402 in 2017/18, which is due to an increased length of planned cleaning delivered, ongoing customer education, and continued improvements in the targeting efficiency of planned programmes.
Total number of gravity sewer collapses | nr | 251 | There has been a 57% decrease in the number of gravity sewer collapses from 2016/17 to 2017/18. In addition we have improved our collapse verification processes and have increased data controls.
Total number of sewer rising main bursts / collapses | nr | 70 | Rising main burst numbers have increased by 12 from 2016/17 to 2017/18. This increase is partly due to this year being the first full regulatory year including private SPSs and their associated rising mains
Number of combined sewer overflows | nr | 423 | 363 consented + 60 unconsented
Number of emergency overflows | nr | 18
Number of settled storm overflows | nr | 237
Sewer age profile (constructed post 2001) | km | 10356
Volume of trade effluent | Ml/yr | 22037.02 | The figure reported is Ml/yr as per confirmation in the query response received from Ofwat on the 8th May 2018.
Volume of wastewater receiving treatment as sewage treatment works | Ml/yr | 1613153.24
Length of gravity sewers rehabilitated | km | 52 | The length of gravity sewers rehabilitated has increased since 2016/17 as a result of the identification of a new data source from our end to end process review (accounting for 20% of this years reported figure) in addition numbers have increased due to increased focus on sewer rehabilitation and first time fixes.
Length of rising mains replaced or structurally refurbished | km | 1
Length of foul (only) public sewer | km | 37299.14
Length of surface water (only) public sewers | km | 23284.44
Length of combined public sewers | km | 6020.21
Length of rising mains | km | 2011.4
Length of other wastewater network pipework | km | 325.82
Total length of "legacy" public sewers as at 31 March | km | 68941.01
Length of formerly private sewers and lateral drains (s105A sewers) | km | 40038.77
Sludge
Total sewage sludge produced, treated by incumbents | ttds/year | 366.217
Total sewage sludge produced, treated by 3rd party sludge service provider | ttds/year | 0
Total sewage sludge produced | ttds/year | 366.217
Percentage of sludge produced and treated at a site of STW and STC co-location | % | 89.71%
Total sewage sludge disposed by incumbents | ttds/year | 232.4
Total sewage sludge disposed by 3rd party sludge servi ce provider | ttds/year | 0
Total sewage sludge disposed | ttds/year | 232.4
Total measure of intersiting 'work' done by pipeline | ttds*km/year | 103.25 | Only Beckton STW to Riverside STC included. Less sludge transferred as lower volume collected at Beckton and more treated through co-treated STC
Total measure of intersiting 'work' done by tanker | ttds*km/year | 697.5923 | Reduction due to greater management control over intersite activities (closed loops) to ensure sludge only moves shortest possible distance
Total measure of intersiting 'work' done by truck | ttds*km/year | 439.029
Total measure of intersiting 'work' done (all forms of transportation) | ttds*km/year | 1239.8713
0
Total measure of intersiting 'work' done by tanker (by volume transported) | m3*km/yr | 20120728 | OFWAT clarification - only include sludge that has gone directly into STC blending tank and not sludge that has gone into STW inlet works. Therefore centrate, sludge liquors and thin sludges excluded.
0
Total measure of 'work' done in sludge disposal operations by pipeline | ttds*km/year | 0 | no pipelines used for sludge disposal
Total measure of 'work' done in sludge disposal operations by tanker | ttds*km/year | 0 | No liquid disposal activities have been undertaken this year
Total measure of 'work' done in sludge disposal operations by truck | ttds*km/year | 11445.9 | Reduction in overall volume and haulage distances lower
Total measure of 'work' done in sludge disposal operations (all forms of transportation) | ttds*km/year | 11445.9
0
Total measure of 'work' done by tanker in sludge disposal operations (by volume transported) | m3*km/yr | 0 | No liquid disposal activities have been undertaken this year
Chemical P sludge as % of sludge produced at STW's | % | 36.06% | Based on latest clarification, this is the total percentage of sludge that has some form of chemical addition. The total amount of inert chemical sludge is 4%.

## 4S
Pro forma 4S
Non-financial data - Sewage treatment for the 12 months ended 31st March 2018 - wholesale wastewater
| Units | Treatment categories | [7 empty] | Treatment works consents
|  | Primary | Secondary |  | Tertiary |  |  |  | Total | Phosphorous |  |  |  |  | BODs | [5 empty] | Ammonia
|  |  | Activated Sludge | Biological | A1 | A2 | B1 | B2 |  | <=0.5mg/l | >0.5 to <=1mg/l | >1mg/l | No permit | Total | <=7mg/l | >7 to <=10mg/l | >10 to <=20mg/lmg/l | >20mg/l | No permit | Total | <=1mg/l | >1 to <=3mg/l | >3 to <=10mg/lmg/l | >10mg/l | No permit | Total
Load received at sewage treatment works in 2017-18
Load received by STWs in size band 1 | kg BODs/day | 4.9426 | 50.2426 | 267.5045 | 30.2661 | 0 | 115.0814 | 0 | 468.0372 | 0 | 0 | 0 | 468.0372 | 468.0372 | 0 | 4.6382 | 44.8451 | 379.5448 | 39.0091 | 468.0372 | 0 | 0 | 61.8275 | 71.3187 | 334.8909 | 468.0372 | Consent data used does not take into account consents that came into effect on the 30/03/18
Load received by STWs in size band 2 | kg BODs/day | 0 | 82.1887 | 404.8857 | 18.6398 | 0 | 569.8427 | 0 | 1075.557 | 0 | 0 | 0 | 1075.557 | 1075.557 | 0 | 44.1856 | 339.2834 | 675.0427 | 17.0454 | 1075.557 | 0 | 44.1856 | 414.8356 | 166.5698 | 449.966 | 1075.557 | Consent data used does not take into account consents that came into effect on the 30/03/18
Load received by STWs in size band 3 | kg BODs/day | 0 | 206.2784 | 2345.7011 | 374.2382 | 80.3181 | 1935.188 | 87.5752 | 5029.299 | 0 | 0 | 0 | 5029.299 | 5029.299 | 0 | 688.2177 | 1653.3585 | 2687.7228 | 0 | 5029.299 | 0 | 493.2728 | 2388.4744 | 745.6516 | 1401.9002 | 5029.299 | Consent data used does not take into account consents that came into effect on the 30/03/18
Load received by STWs in size band 4 | kg BODs/day | 0 | 3036.2729 | 4769.2739 | 843.1678 | 912.2302 | 9078.4817 | 2687.8003 | 21327.2269 | 0 | 0 | 0 | 21327.2269 | 21327.2269 | 1495.7291 | 4161.3927 | 12315.6662 | 3354.4388 | 0 | 21327.2269 | 0 | 7985.4165 | 10885.1743 | 1200.2304 | 1256.4056 | 21327.2269 | Consent data used does not take into account consents that came into effect on the 30/03/18
Load received by STWs in size band 5 | kg BODs/day | 0 | 0 | 0 | 660.112 | 9236.9911 | 2053.9207 | 16406.9894 | 28358.0131 | 0 | 0 | 27107.5032 | 2076.9217 | 29184.4248 | 2187.3669 | 13162.2127 | 12557.0936 | 1277.7517 | 0 | 29184.4248 | 0 | 14117.9391 | 14240.0741 | 826.4117 | 0 | 29184.4248 | Consent data used does not take into account consents that came into effect on the 30/03/18
Load received by STWs above size band 5 | kg BODs/day | 0 | 564941.8113 | 0 | 0 | 308539.5026 | 2135.5665 | 38268.9715 | 913885.8519 | 0 | 258333.2174 | 87648.8449 | 567077.3778 | 913059.4402 | 108559.09 | 151354.2868 | 592868.454 | 60277.6094 | 0 | 913059.4402 | 106341.7182 | 703876.5049 | 95653.9263 | 7187.2909 | 0 | 913059.4402 | Consent data used does not take into account consents that came into effect on the 30/03/18
Total Load received | kg BODs/day | 4.9426 | 568316.794 | 7787.3652 | 1926.4239 | 318769.0419 | 15888.0811 | 57451.3363 | 970143.9851 | 0 | 258333.2174 | 114756.3481 | 597054.4195 | 970143.9851 | 112242.186 | 169414.9336 | 619778.7009 | 68652.1101 | 56.0545 | 970143.9851 | 106341.7182 | 726517.3188 | 123644.3123 | 10197.4732 | 3443.1627 | 970143.9851
Load received from trade effluent customers at treatment works | kg BODs/day | [7 empty] | 29262.36
Number of sewage treatment works at 31 March 2018
STWs in size band 1 | nr | 2 | 8 | 43 | 5 | 0 | 12 | 0 | 70 | 0 | 0 | 0 | 70 | 70 | 0 | 1 | 9 | 51 | 9 | 70 | 0 | 0 | 9 | 9 | 52 | 70 | Consent data used does not take into account consents that came into effect on the 30/03/18 There are 351 STW's but as two (Abingdon and Little Marlow) have two discharge consents with different values there are 353 consents
STWs in size band 2 | nr | 0 | 4 | 18 | 1 | 0 | 23 | 0 | 46 | 0 | 0 | 0 | 46 | 46 | 0 | 2 | 11 | 32 | 1 | 46 | 0 | 2 | 14 | 8 | 22 | 46 | Consent data used does not take into account consents that came into effect on the 30/03/18 There are 351 STW's but as two (Abingdon and Little Marlow) have two discharge consents with different values there are 353 consents
STWs in size band 3 | nr | 0 | 4 | 38 | 4 | 1 | 32 | 1 | 80 | 0 | 0 | 0 | 80 | 80 | 0 | 10 | 25 | 45 | 0 | 80 | 0 | 7 | 34 | 14 | 25 | 80 | Consent data used does not take into account consents that came into effect on the 30/03/18 There are 351 STW's but as two (Abingdon and Little Marlow) have two discharge consents with different values there are 353 consents
STWs in size band 4 | nr | 0 | 10 | 17 | 3 | 2 | 32 | 10 | 74 | 0 | 0 | 0 | 74 | 74 | 4 | 13 | 42 | 15 | 0 | 74 | 0 | 25 | 39 | 4 | 6 | 74 | Consent data used does not take into account consents that came into effect on the 30/03/18 There are 351 STW's but as two (Abingdon and Little Marlow) have two discharge consents with different values there are 353 consents
STWs in size band 5 | nr | 0 | 0 | 0 | 1 | 9 | 3 | 16 | 29 | 0 | 0 | 27 | 3 | 30 | 2 | 13 | 14 | 1 | 0 | 30 | 0 | 15 | 14 | 1 | 0 | 30 | Consent data used does not take into account consents that came into effect on the 30/03/18 There are 351 STW's but as two (Abingdon and Little Marlow) have two discharge consents with different values there are 353 consents
STWs above size band 5 | nr | 0 | 6 | 0 | 0 | 34 | 1 | 11 | 52 | 0 | 18 | 28 | 7 | 53 | 6 | 24 | 19 | 4 | 0 | 53 | 4 | 32 | 16 | 1 | 0 | 53 | Consent data used does not take into account consents that came into effect on the 30/03/18 There are 351 STW's but as two (Abingdon and Little Marlow) have two discharge consents with different values there are 353 consents
Total number of works | nr | 2 | 32 | 116 | 14 | 46 | 103 | 38 | 351 | 0 | 18 | 55 | 280 | 353 | 12 | 63 | 120 | 148 | 10 | 353 | 4 | 81 | 126 | 37 | 105 | 353
Population equivalent | Units | Input 2018
Current population equivalent served by STWs | 000's | 15521.389
Current population equivalent served by discharge relocation schemes | 000's | 0
Current population equivalent served by filter bed STWs with tightened/new P consents | 000's | 97.586
Current population equivalent served by activated sludge STWs with tightened/new P consents | 000's | 430.842
Current population equivalent served by groundwater protection schemes | 000's | 0
Current population equivalent served by STWs with a Flow1 driver scheme | 000's | 0
Current population equivalent served by STWs with tightened/new N consents | 000's | 0
Current population equivalent served by STWs with tightened/new sanitary parameter consents | 000's | 272.432
Current population equivalent served by STWs with tightened/new UV consents | 000's | 0
Population equivalent treatment capacity enhancement | 000's | 2.375

## 4T
Pro forma 4T
Non-financial data -Sludge treatment for the 12 month ended 31st March 2018 - Wholesale wastewater
| Units | By incumbent | By 3rd party sludge service providers
Sludge treatment process
% Sludge - untreated | % | 1% | 0%
% Sludge treatment process - raw sludge liming | % | 5.5% | 0%
% Sludge treatment process - conventional AD | % | 28.7% | 0%
% Sludge treatment process - advanced AD | % | 48.1% | 0%
% Sludge treatment process - incineration of raw sludge | % | 16.7% | 0%
% Sludge treatment process - incineration of digested sludge | % | 0% | 0%
% Sludge treatment process - phyto-conditioning/composting | % | 0% | 0%
% Sludge treatment process - other (specify) | % | 0% | 0%
% sludge treatment process - Total | % | 100% | 0%
(Un-incinerated) sludge disposal route
% Sludge disposal route - landfill, raw | % | 0% | 0%
% Sludge disposal route - landfill, partly treated | % | 0% | 0%
% Sludge disposal route - land restoration / reclamation | % | 1.3% | 0%
% Sludge disposal route - sludge recycled to farmland | % | 98.7% | 0%
% Sludge disposal route - other (specify) | % | 0% | 0%
% Sludge disposal route - Total | % | 100% | 0%

## 4U
Pro forma 4U
Non-financial data - Properties, population and other for the 12 months ended 31st March 2018 - wholesale waste water
| Units | Input
Properties and population
Residential properties connected during the year | 000's | 45.241
Business properties connected during the year | 000's | 1.271
Residential properties billed unmeasured sewage | 000's | 2958.341
Residential properties billed measured sewage | 000's | 2394.454
Residential properties billed for sewage | 000's | 5352.795
Business properties billed unmeasured sewage | 000's | 47.125
Business properties billed measured sewage | 000's | 214.781
Business properties billed for sewage | 000's | 261.906
Void properties | 000's | 223.698
Number of properties | 000's | 5838.399
Resident population | 000's | 15018.284
Non-resident population | 000's | 505.801
Other
Energy consumption - network plus | MWh | 722643.672
Energy consumption - sludge | MWh | 366814.221
Energy consumption - wholesale | MWh | 1089457.893
Population resident in National Parks, SSSIs, and Areas of Outstanding Natural Beauty (AONBs) | 000 | 292.509
Total sewerage catchment area | km2 | 2636
Designated bathing water | nr | 0 | There are no bathing waters in our operational area which our assets discharge into.
Number of intermittent discharge sites with event duration monitoring | nr | 143
Number of monitors for flow monitoring at STWs | nr | 0 | The flow monitors are programmed for delivery in Year 5
Number of odour related complaints | nr | 7343
Volume of storage provided at CSOs, storm tanks, etc. to meet spill frequency requirements | m3 | 0 | Thames Water do not have any spill frequency requirements as there are no bathing waters in our operational area
Total volume of network storage | m3 | 9155924 | The Lee Tunnel has not yet been taken over by Thames and its volume is therefore not included

## 4V
Pro forma 4V
Operating cost analysis for the 12 months ended 31 March 2018 - Water Resources
| Impounding Reservoir | Pumped Storage | River Abstractions | Groundwater, excluding MAR water supply schemes | Artificial Recharge (AR) water supply schemes | Aquifer Storage and Recovery (ASR) water supply schemes | Total
| £m | £m | £m | £m | £m | £m | £m
Power | 0.053813 | 5.8202 | 0.93411 | 6.5317 | 0.016299 | 0 | 13.3562
Income treated as negative expenditure | 0 | -0.11508 | -0.0069394 | 0 | 0 | 0 | -0.12202
Local authority and cumulo rates | 0.12583 | 2.5131 | 0.069905 | 0.77945 | 0.0069905 | 0 | 3.4953
Other direct operating expenditure | 1.0665 | 18.0832 | 1.174 | 5.8605 | 0.11915 | 0 | 26.3034
Other indirect operating expenditure | 0.60603 | 12.1038 | 0.33669 | 3.754 | 0.033669 | 0 | 16.8343
Total operating expenditure (excluding 3rd party) | 1.8522 | 38.4053 | 2.5077 | 16.9257 | 0.17611 | 0 | 59.867
Depreciation | 0.15187 | 3.0331 | 0.084371 | 0.94073 | 0.0084371 | 0 | 4.2185
Total operating costs (excluding 3rd party) | 2.0041 | 41.4384 | 2.5921 | 17.8665 | 0.18455 | 0 | 64.0856
Other expenditure for the 12 months ended 31 March 2018 wholesale water
. |  |  | Water resources | Raw water distribution | Water treatment | Treated water distribution | Total
Item
Employment costs - directly allocated |  |  | 5.0416 | 0.43327 | 15.8501 | 24.1419 | 45.4668
Employment costs - indirectly allocated |  |  | 3.8918 | 0.31689 | 8.6053 | 33.8607 | 46.6747
Number FTEs consistent with 4V.9 above |  |  | 134.2372 | 7.1798 | 476.3964 | 359.0799 | 976.8932
Number FTEs consistent with 4V.10 above |  |  | 93.4059 | 10.6761 | 157.7752 | 981.098 | 1242.9551
Costs associated with Traffic Management Act |  |  | 0 | 0 | 0 | 12.022 | 12.022
Service Charges
Canal & River Trust abstraction charges/ discharge consents |  |  | 0.368 |  |  |  | 0.368
Environment Agency abstraction charges/ discharge consents |  |  | 12.7487 |  |  |  | 12.7487
Other abstraction charges/ discharge consents |  |  | 0 |  |  |  | 0
Statutory water softening |  |  | 0 | 0 | 0 | 0 | 0

## 4W
Pro forma 4W
Operating cost analysis for the 12 months ended 31 March 2018 - Sludge Treatment
| Untreated Sludge | Raw Sludge liming | Conventional AD | Advances AD | Incineration of raw Sludge | Incineration of digested Sludge | Photo-conditioning / composting | Other | Total
| £m | £m | £m | £m | £m | £m | £m | £m | £m
Sludge treatment type
Power | -0.13833 | -0.76084 | -3.9702 | -6.6539 | -2.3102 | 0 | 0 | 0 | -13.8334
Income treated as negative expenditure | -0.096316 | -0.52974 | -2.7643 | -4.6328 | -1.6085 | 0 | 0 | 0 | -9.6316
Local authority and cumulo rates | 0.090049 | 0.49527 | 2.5844 | 4.3314 | 1.5038 | 0 | 0 | 0 | 9.0049
Other direct operating expenditure | 0.43566 | 2.3961 | 12.5034 | 20.9552 | 7.2755 | 0 | 0 | 0 | 43.5659
Other indirect operating expenditure | 0.066805 | 0.36743 | 1.9173 | 3.2133 | 1.1156 | 0 | 0 | 0 | 6.6805
Total operating expenditure (excluding 3rd party) | 0.35786 | 1.9682 | 10.2707 | 17.2132 | 5.9763 | 0 | 0 | 0 | 35.7863
Depreciation | 0.30137 | 1.6575 | 8.6492 | 14.4957 | 5.0328 | 0 | 0 | 0 | 30.1367
Total operating costs (excluding 3rd party) | 0.65923 | 3.6258 | 18.9199 | 31.7089 | 11.0091 | 0 | 0 | 0 | 65.9229
Sludge disposal route
Power | 0 | 0.0041014 | 0.013421 | 0.020406 | 0 | 0 | 0 | 0 | 0.037928
Income treated as negative expenditure | 0 | -0.085756 | -0.28062 | -0.42667 | 0 | 0 | 0 | 0 | -0.79304
Local authority and cumulo rates | 0 | 0.09203 | 0.30115 | 0.45788 | 0 | 0 | 0 | 0 | 0.85106
Other direct operating expenditure | 0.47252 | 1.6128 | 5.2774 | 8.024 | 1.2011 | 0 | 0 | 0 | 16.5878
Other indirect operating expenditure | 0 | 0.27506 | 0.90006 | 1.3685 | 0 | 0 | 0 | 0 | 2.5436
Total operating expenditure (excluding 3rd party) | 0.47252 | 1.8982 | 6.2114 | 9.4441 | 1.2011 | 0 | 0 | 0 | 19.2274
Depreciation | 0.39696 | 1.5993 | 5.2334 | 7.9571 | 1.0091 | 0 | 0 | 0 | 16.1959
Total operating costs (excluding 3rd party) | 0.86948 | 3.4975 | 11.4448 | 17.4013 | 2.2102 | 0 | 0 | 0 | 35.4232
Other expenditure for the 12 months ended 31 March 2018 Wholesale wastewater
. | [5 empty] | Network Plus Sewage Collection | Network Plus Sewage Treatment | Sludge | Total
Item
Employment costs - directly allocated | [5 empty] | 18.7125 | 27.1805 | 11.8696 | 57.7626
Employment costs - indirectly allocated | [5 empty] | 12.8175 | 13.2829 | 8.1529 | 34.2533
Number FTEs consistent with 4W.17 above | [5 empty] | 557.2691 | 711.3824 | 416.2952 | 1684.9468
Number FTEs consistent with 4W.18 above | [5 empty] | 355.8231 | 270.7215 | 162.6199 | 789.1645
Costs associated with Traffic Management Act | [5 empty] | 1.5458 | 0 | 0 | 1.5458
Costs associated with Industrial Emissions Directive | [5 empty] | 0 | 0 | 0.11253 | 0.11253
Service Charges
Canal & River Trust discharge consents | [5 empty] | 0.85432 | 0 | 0 | 0.85432
Environment Agency discharge consents | [5 empty] | 0.57335 | 3.4483 | 0 | 4.0217
Other discharge charges / permits | [5 empty] | 0.30745 | 0.13003 | 0.032936 | 0.47042