## AR front page
All queries on the content of this workbook should be sent to:
water-company-plan@environment-agency.gov.uk
Environment Agency template version:
Updated 1 March 2024
WRMP Annual Review data return submission
Water company: | Thames Water
Reporting year of data submission | 2023/24
WRMP reporting against: | WRMP19 |  | Signed: | D Watts | Dated: | 2024-07-05
Responsible Officer: | David Watts
Version of data submission: | V1.1 |  |  | [Digital signature is acceptable]
Confirmation of quality checks and assurance undertaken as part of Annual Review data return
|  |  | Signed: | P Denholm-Blair | Dated: | 2024-07-05
QA checks have been passed for all resource zone and water company level supply-balance data provided
Data provided has been derived by following the guidance in the Annual Review technical guidance document |  |  |  | [Digital signature is acceptable]
Data provided has been assured and signed off by the appropriate governance group/individual
Data that has been provided is factually accurate and consistent with metrics reported through other performance assessment processes

## AR outturn
WRMP ANNUAL REVIEW DATA TEMPLATE - WATER BALANCE COMPONENTS
Water company: | Thames Water
Number of resource zones: | 6
Year of data submission: | 2023/24
Reporting against WRMP: | WRMP19 (with leakage forecast updated using the Ofwat convergent methodology)
Scenario: | Outturn
(Delete/insert columns appropriate to the number of resource zones)
Row numbering in line with WRMP structure | Component | Derivation and type of data | Units | DP | Data requirement | Guildford | Henley | Kennet Valley | London | SWA | SWOX | Water company total data | Page or section reference in AR narrative or report | Notes on data provided
SUPPLY
Resources
1AR | Raw water abstracted | Input outturn data | Ml/d | 2dp | Required | 55.6802 | 14.6074 | 121.7288 | 2156.24 | 157.4246 | 298.8702 | 2804.5512 | N/A | Doesn't fully align with abstration returns due to correction for meter error
2.1AR | Internal raw water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0 | 0.1 | 0 | 0 | 1.83 | 1.93 | N/A
3.1AR | Internal potable water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
5.2AR | Internal raw water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0.1 | 0 | 0 | 1.83 | 0 | 1.93 | N/A
6.1AR | Internal potable water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
2.2AR | External raw water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
3.2AR | External potable water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3.4
5.3AR | External raw water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0 | 0 | 2 | 0 | 0 | 2 | N/A
6.2AR | External potable water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | If applicable | 2.27 | 0 | 0.32 | 18.53 | 1.88 | 2.55 | 25.55 | N/A | Exports from London do not include the Essex and Suffolk Water transfer, as this transfer is included in the calculation of Deployable Output due to its magnitude
5.1AR | Non potable water supplied | Input outturn data | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
7AR | Deployable output (please include and reflect the changes to DO, the sum of 8.1, 8.2 and 8.3, in the WRMP19 tables) | Input dry year figure | Ml/d | 2dp | Required | 67.0506 | 18.85 | 142.76 | 2161.62 | 178.18 | 320.18 | 2888.6406 | Appendix 1
12AR | Water Available For Use (own sources) | (Deployable Output + changes to DO) - (Treatment works losses and operational use + outage experienced). | Ml/d | 2dp | Required | 64.7906 | 18.59 | 141.09 | 2101.32 | 173.21 | 319.04 | 2818.0406 | 2.3; 3.5
13AR | Total Water Available For Use | WAFU own sources + (total water imported) - (total water exported). Total WAFU is based on external transfers reported as the most challenging scenario for contractual volumes as stated in Appendix 1 of the technical annex and internal transfers reported as outturn volumes. | Ml/d | 2dp | Required | 62.5206 | 18.49 | 140.87 | 2080.79 | 169.5 | 318.32 | 2790.4906 | 2.3; 3.5
Process Losses
9AR | Raw water losses, treatment works losses and operational use | Input outturn data | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | We have assigned 0 Ml/d to all WRZs for process loss, as process losses are incorporated into our calculation of Deployable Output. (Values calculated as: Guildford 3.30Ml/d, Henley 0.36Ml/d, Kennet Valley 8.61Ml/d, London 67.12Ml/d, SWA 2.73Ml/d, SWOX 5.68Ml/d).
10AR | Total outage experienced | Input outturn data | Ml/d | 2dp | Required | 2.26 | 0.26 | 1.67 | 60.3 | 4.97 | 1.14 | 70.6 | 2.3.2
10.1AR | Unplanned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp | Optional | [6 empty] | 0 | N/A
10.2AR | Planned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp | Optional | [6 empty] | 0 | N/A
DEMAND
11AR | Distribution input (in reporting year) | Outturn data for: Total household and non-household consumption + water taken unbilled + distribution system operational losses + total leakage | Ml/d | 2dp | Required | 49.619 | 13.8817 | 104.5587 | 1920.1395 | 149.7222 | 286.3374 | 2524.2584 | 2.4.2
12.1AR | Non potable water demand/consumption | Input outturn data | Ml/d | 2dp | If applicable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Consumption
23AR | Measured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 6.9712 | 1.4401 | 17.4282 | 311.563 | 19.9291 | 53.0426 | 410.3742 | N/A
24AR | Unmeasured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 0.16148 | 0.040317 | 0.26132 | 11.2645 | 0.29032 | 0.75316 | 12.7711 | N/A
25AR | Measured household - consumption | Input outturn data | Ml/d | 2dp | Required | 12.3554 | 4.5821 | 30.033 | 563.698 | 36.1144 | 94.9944 | 741.7773 | N/A
26AR | Unmeasured household - consumption | Input outturn data | Ml/d | 2dp | Required | 9.3421 | 2.4319 | 27.7449 | 566.4438 | 42.5915 | 50.4152 | 698.9693 | N/A
29AR | Measured household - pcc | Outturn data: (Measured household consumption * 1,000,000) / (measured household population * 1,000) | l/h/d | 0dp | Required | 118.8335 | 130.0823 | 123.4515 | 120.1836 | 125.5217 | 124.104 | 121.0879 | N/A
30AR | Unmeasured household - pcc | Outturn data: (Unmeasured household consumption * 1,000,000) / (Unmeasured household population * 1,000) | l/h/d | 0dp | Required | 152.7001 | 146.1347 | 145.0406 | 165.0565 | 147.1987 | 154.5317 | 161.9289 | N/A
31AR | Average household - pcc | Outturn data: (Measured and unmeasured household consumption * 1,000,000) / (measured and unmeasured household population * 1,000) | l/h/d | 0dp | Required | 131.3792 | 135.2328 | 132.9547 | 139.1436 | 136.3909 | 133.1972 | 137.9701 | 3.2; Appendix 3
32AR | Water taken unbilled | Input outturn data | Ml/d | 2dp | Required | 1.1836 | 0.25739 | 2.4208 | 55.333 | 2.4887 | 8.7305 | 70.414 | N/A
33AR | Distribution system operational use | Input outturn data | Ml/d | 2dp | Required | 0.51057 | 0.10302 | 0.7381 | 12.0566 | 1.017 | 2.6645 | 17.0898 | N/A
Leakage
34AR | Measured non household - uspl | Input outturn data | Ml/d | 2dp | Required | 0.19947 | 0.056173 | 0.23227 | 3.1121 | 0.50451 | 0.79616 | 4.9007 | N/A
35AR | Unmeasured non-household - uspl | Input outturn data | Ml/d | 2dp | Required | 0.038412 | 0.0098122 | 0.03673 | 1.317 | 0.059974 | 0.096341 | 1.5583 | N/A
36AR | Measured household - uspl | Input outturn data | Ml/d | 2dp | Required | 1.9709 | 0.64529 | 2.5331 | 35.1881 | 4.21 | 8.2976 | 52.845 | N/A
37AR | Unmeasured household - uspl | Input outturn data | Ml/d | 2dp | Required | 2.6829 | 0.69419 | 4.2691 | 67.4566 | 8.5615 | 8.0221 | 91.6865 | N/A
38AR | Void properties - uspl | Input outturn data | Ml/d | 2dp | Required | 0.24649 | 0.06761 | 0.27951 | 6.5895 | 0.52957 | 0.91205 | 8.6248 | N/A
39AR | Distribution Losses | Input outturn data | Ml/d | 2dp | Required | 13.9565 | 3.5538 | 18.5817 | 286.1171 | 33.4256 | 57.6128 | 413.2474 | N/A
40AR | Total leakage | Outturn data: Total USPL + distribution losses | Ml/d | 2dp | Required | 19.0947 | 5.0269 | 25.9324 | 399.7805 | 47.2912 | 75.7371 | 572.8628 | 3.1 | MLE adjustments are applied at WRZ level and totalled to a company position. In our APR leakage is reported at company level with the MLE adjustment is applied at this level, resulting in a 2.51 ml/d difference due to how MLE adjustment is applied. For clarity our reported outurn annual average total leakage is 570.35 Ml/d. The value of 570.35 Ml/d at the company level is used in the APR and is the correct value.
CUSTOMERS
Properties
42AR | Measured non-household - properties | Input end of reporting year data | 000's | 3dp | Required | 2.8761 | 0.89501 | 6.3843 | 103.8203 | 9.8635 | 21.2078 | 145.047 | N/A
43AR | Unmeasured non-household - properties | Input end of reporting year data | 000's | 3dp | Required | 0.3219 | 0.090867 | 0.58677 | 25.5364 | 0.6815 | 1.4916 | 28.709 | N/A
44AR | Void non households - properties | Input end of reporting year data | 000's | 3dp | Required | 0.51146 | 0.13746 | 0.98116 | 27.8396 | 1.5645 | 3.4598 | 34.494 | N/A
45AR | Measured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp | Required | 39.787 | 14.3951 | 97.4826 | 1643.5381 | 115.2419 | 309.4602 | 2219.905 | N/A | Does not align with APR table 4R. APR Table 4R shows the number of billing accounts. The total shown here includes for subsiduary meters underneath a single billing account. As an example, a whole block of flats will sometimes be billed as a single billing account, but would contain multiple properties. Property count has been externally audited by PWC.
45.7AR | Measured household void properties | Input end of reporting year data | 000's | 3dp | Required | 0.49831 | 0.15457 | 1.1946 | 25.7509 | 1.4675 | 3.3545 | 32.4204 | N/A | Total HH Voids pro-rata by company database overall measured/non-measured split
46AR | Unmeasured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp | Required | 22.4829 | 6.4285 | 68.2007 | 1307.9285 | 97.2869 | 124.1995 | 1626.527 | N/A
47AR | Unmeasured household void properties | Input end of reporting year data | 000's | 3dp | Required | 1.0559 | 0.33408 | 2.2894 | 74.1751 | 2.9856 | 7.306 | 88.1461 | N/A | Total HH Voids pro-rata by company database overall measured/non-measured split
48AR | Total resource zone properties (inc voids) | End of reporting year data : Total non-household properties + total void non-household properties + total household properties + total void household properties | 000's | 3dp | Required | 67.5334 | 22.4357 | 177.1196 | 3208.5889 | 229.0915 | 470.4794 | 4175.2485 | N/A
Population
49AR | Measured non-household - population | Input end of reporting year data | 000's | 3dp | Required | 7.4676 | 0.27145 | 6.791 | 51.4431 | 5.2813 | 32.589 | 103.8434 | N/A
50AR | Unmeasured non-household - population | Input end of reporting year data | 000's | 3dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
51AR | Measured household - population | Input end of reporting year data | 000's | 3dp | Required | 103.9721 | 35.2249 | 243.2776 | 4690.3082 | 287.7144 | 765.4413 | 6125.9384 | N/A
52AR | Unmeasured household population | Input end of reporting year data | 000's | 3dp | Required | 61.1791 | 16.6414 | 191.2905 | 3431.8173 | 289.3469 | 326.2451 | 4316.5204 | N/A
53AR | Total resource zone population | End of reporting year data: Unmeasured and measured household population + Unmeasured and measured non-household population | 000's | 3dp | Required | 172.6188 | 52.1377 | 441.3591 | 8173.5687 | 582.3426 | 1124.2753 | 10546.3022 | Table 7
Metering
57AR | Total measured household metering penetration (incl. voids) | Outturn data: Measured household properties exc. voids / (measured household properties exc. voids + unmeasured household properties exc. voids) + measured and unmeasured household void properties) | % | 2dp | Required | 62.34% | 67.54% | 57.62% | 53.86% | 53.11% | 69.65% | 55.96% | 3.3 | Does not align with APR table 6D due to methodology requirements for inclusion of voids. We have improved the quality of source data for subsidiary properties which has resulted in a reduction in metered properties when compared to AR23, and therefore a reduction in reported meter penetration in some WRZs
57.1AR | Total households with a meter installed | Input outturn data (See technical annex for guidance) | % | 2dp | Optional | 64.8% | 68.27% | 58.35% | 56.66% | 53.8% | 71.99% | 58.49% | 3.3
57.2AR | Total numbers of household meters installed | Input outturn data | 000's | 3dp | Required | 1.714 | 0.044 | 2.363 | 75.096 | 2.251 | 10.713 | 92.181 | 3.3 | We have interpreted this requirement as the total number of meters installed in the reporting year, rather than the total number of meters installed overall.
SUPPLY-DEMAND BALANCE
16AR | Target headroom | Input adjusted reporting year figure or DYAA WRMP value | Ml/d | 2dp | Required | 1.11 | 0.37 | 4.69 | 78.04 | 2.89 | 6.65 | 93.75 | Appendix 4 | "Reporting Year" Target Headroom used
18AR | Observed supply-demand balance (in reporting year) | (Total WAFU - DI) - target headroom | Ml/d | 2dp | Required | 11.7916 | 4.2383 | 31.6213 | 82.6105 | 16.8878 | 25.3326 | 172.4821 | N/A
[6 empty] | Guildford | Henley | Kennet Valley | London | SWA | SWOX
QA check 1 | Distribution input | 23AR + 24AR + 25AR + 26AR + 32AR + 33AR + 40AR |  |  |  | 5.6843e-14 | -1.5987e-14 | 2.9843e-13 | 3.638e-12 | -5.6843e-13 | 3.979e-13 | 4.0927e-12
QA check 2 | Water available for use (own sources) | 7AR - (9AR + 10AR) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
QA check 3 | Total WAFU | 12AR + (2.1AR + 3.1AR + 2.2AR + 3.2AR) - (5.2AR + 6.1AR + 5.3AR + 6.2AR) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 4.5475e-13
QA check 4 | Total outage | 10.1AR + 10.2AR |  |  |  | 2.26 | 0.26 | 1.67 | 60.3 | 4.97 | 1.14 | 70.6 |  | This QA check is red as we have not completed the optional outage subcomponents
QA check 5 | Total properties | 42AR + 43AR + 45AR + 45.7AR + 46AR + 47AR |  |  |  | 0 | 2.4869e-14 | 3.1264e-13 | 3.1832e-12 | -8.2423e-13 | 5.6843e-14 | 2.7285e-12
QA check 6 | Total population | 49AR + 50AR + 51AR + 52AR |  |  |  | 2.8422e-13 | -2.8422e-14 | 1.7053e-13 | 2.7285e-12 | 3.4106e-13 | -3.638e-12 | 0
QA check 7 | Household metering | 42AR / (42AR + 43AR + 45.7AR + 47AR) |  |  |  | 0 | -1.1102e-16 | 0 | 0 | -1.1102e-16 | 0 | 0 |  | Formula edited as the formula was in error in the template
QA check 8 | Average pcc | ((25AR + 26AR) * 1,000,000) / ((49AR + 50AR) * 1,000)) |  |  |  | -2.8422e-14 | 0 | 0 | 0 | -2.8422e-14 | 0 | 0
QA check 9 | Total leakage | 34AR + 35AR + 36AR + 37AR + 38AR + 39AR |  |  |  | -3.1974e-14 | 0 | -7.1054e-15 | 1.08e-12 | 7.1054e-15 | 7.1054e-14 | 1.1369e-12
QA check 10 | Supply-demand balance | (13AR - 11AR) - 16AR |  |  |  | 0 | 8.8818e-16 | 3.5527e-15 | 4.2633e-14 | 1.4211e-14 | 2.1316e-14 | -2.8422e-13
Values returns as zero where calculated value equals input value
For volumetric metrics, QA value will show as red text where calculated value +/- 0.1 Ml/d from entered values.
For population and property QA, value will show as red text where calculated value is +/- 0.01 (10) difference from entered values
Note on G83: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Tibbetts, Joe do you happen to know why this QA test always tests red? I can't see an issue in the formula but was just curious.

## AR outturn CP
WRMP ANNUAL REVIEW DATA TEMPLATE - WATER BALANCE COMPONENTS
Water company: | Thames Water
Number of resource zones: | 6
Year of data submission: | 2023/24
Reporting against WRMP: | WRMP19 (with leakage forecast updated using the Ofwat convergent methodology)
Scenario: | Outturn Critical period uplifted/adjusted
(Delete/insert columns appropriate to the number of resource zones)
Row numbering in line with WRMP structure | Component | Derivation and type of data | Units | DP | Data requirement | Guildford | Henley | Kennet Valley | London | SWA | SWOX | Water company total data | Page or section reference in AR narrative or report | Notes on data provided
SUPPLY
Resources
1AR | Raw water abstracted | Input outturn data | Ml/d | 2dp | Required | 65.6959 | 16.4953 | 138.0875 | 2156.24 | 180.6199 | 319.7864 | 2876.9248 | N/A | Doesn't fully align with abstration returns due to correction for meter error
2.1AR | Internal raw water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0.69 | 0 | 0 | 0 | 4.25 | 4.94 | N/A | Transfers different between Annual Average and Critical Period Scenarios, and so "un-greyed" cells
3.1AR | Internal potable water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | Transfers different between Annual Average and Critical Period Scenarios, and so "un-greyed" cells
5.2AR | Internal raw water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0 | 0.69 | 0 | 4.25 | 0 | 4.94 | N/A | Transfers different between Annual Average and Critical Period Scenarios, and so "un-greyed" cells
6.1AR | Internal potable water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | Transfers different between Annual Average and Critical Period Scenarios, and so "un-greyed" cells
2.2AR | External raw water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | Transfers different between Annual Average and Critical Period Scenarios, and so "un-greyed" cells
3.2AR | External potable water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3.4 | Transfers different between Annual Average and Critical Period Scenarios, and so "un-greyed" cells
5.3AR | External raw water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0 | 0 | 2 | 0 | 0 | 2 | N/A | Transfers different between Annual Average and Critical Period Scenarios, and so "un-greyed" cells
6.2AR | External potable water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | If applicable | 2.27 | 0 | 0.37 | 18.53 | 2.17 | 3.01 | 26.35 | N/A | Exports from London do not include the Essex and Suffolk Water transfer, as this transfer is included in the calculation of Deployable Output due to its magnitude
5.1AR | Non potable water supplied | Input outturn data | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
7AR | Deployable output (please include and reflect the changes to DO, the sum of 8.1, 8.2 and 8.3, in the WRMP19 tables) | Input dry year figure | Ml/d | 2dp | Required | 71.6306 | 21.59 | 146.32 | 2161.62 | 194.83 | 354.3035 | 2950.294 | Appendix 1
12AR | Water Available For Use (own sources) | (Deployable Output + changes to DO) - (Treatment works losses and operational use + outage experienced). | Ml/d | 2dp | Required | 66.72 | 21.23 | 141.2 | 2101.32 | 186.75 | 351.66 | 2868.88 | 2.3; 3.5
13AR | Total Water Available For Use | WAFU own sources + (total water imported) - (total water exported). Total WAFU is based on external transfers reported as the most challenging scenario for contractual volumes as stated in Appendix 1 of the technical annex and internal transfers reported as outturn volumes. | Ml/d | 2dp | Required | 64.45 | 21.92 | 140.14 | 2080.79 | 180.33 | 352.9 | 2840.53 | 2.3; 3.5
Process Losses
9AR | Raw water losses, treatment works losses and operational use | Input outturn data | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | We have assigned 0 Ml/d to all WRZs for process loss, as process losses are incorporated into our calculation of Deployable Output. (Values calculated as: Guildford 3.02Ml/d, Henley 0Ml/d, Kennet Valley 8.82Ml/d, London 67.12Ml/d, SWA 1.69Ml/d, SWOX 11.12Ml/d).
10AR | Total outage experienced | Input outturn data | Ml/d | 2dp | Required | 4.91 | 0.36 | 5.12 | 60.3 | 8.08 | 2.64 | 81.41 | 2.3.2 | "Actual outage", rather than "Outage Allowance"
10.1AR | Unplanned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp | Optional | [6 empty] | 0 | N/A
10.2AR | Planned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp | Optional | [6 empty] | 0 | N/A
DEMAND
11AR | Distribution input (in reporting year) | Outturn data for: Total household and non-household consumption + water taken unbilled + distribution system operational losses + total leakage | Ml/d | 2dp | Required | 56.4 | 16.71 | 110.26 | 1920.1395 | 159.4 | 306.72 | 2569.6295 | 2.4.2
12.1AR | Non potable water demand/consumption | Input outturn data | Ml/d | 2dp | If applicable | [6 empty] | 0 | N/A
Consumption
23AR | Measured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 8.9235 | 2.8447 | 9.3519 | 311.563 | 11.3035 | 45.4546 | 389.4412 | N/A
24AR | Unmeasured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 0.20713 | 0.079816 | 0.14155 | 11.2645 | 0.16671 | 0.64801 | 12.5077 | N/A
25AR | Measured household - consumption | Input outturn data | Ml/d | 2dp | Required | 15.5566 | 5.6795 | 37.4217 | 563.698 | 45.1727 | 115.639 | 783.1676 | N/A
26AR | Unmeasured household - consumption | Input outturn data | Ml/d | 2dp | Required | 12.3306 | 3.1877 | 36.0865 | 566.4438 | 55.3559 | 64.4002 | 737.8047 | N/A
29AR | Measured household - pcc | Outturn data: (Measured household consumption * 1,000,000) / (measured household population * 1,000) | l/h/d | 0dp | Required | 149.6233 | 161.2358 | 153.8229 | 120.1836 | 157.0054 | 151.075 | 127.8445 | N/A
30AR | Unmeasured household - pcc | Outturn data: (Unmeasured household consumption * 1,000,000) / (Unmeasured household population * 1,000) | l/h/d | 0dp | Required | 201.5486 | 191.5539 | 188.6476 | 165.0565 | 191.3132 | 197.3983 | 170.9258 | N/A
31AR | Average household - pcc | Outturn data: (Measured and unmeasured household consumption * 1,000,000) / (measured and unmeasured household population * 1,000) | l/h/d | 0dp | Required | 168.8587 | 170.9635 | 169.1522 | 139.1436 | 174.2078 | 164.9185 | 145.6527 | 3.2; Appendix 3
32AR | Water taken unbilled | Input outturn data | Ml/d | 2dp | Required | 1.4548 | 0.31488 | 2.8871 | 55.333 | 2.9315 | 10.447 | 73.3681 | N/A
33AR | Distribution system operational use | Input outturn data | Ml/d | 2dp | Required | 0.51057 | 0.10302 | 0.7381 | 12.0566 | 1.017 | 2.6645 | 17.0898 | N/A
Leakage
34AR | Measured non household - uspl | Input outturn data | Ml/d | 2dp | Required | 0.19947 | 0.056173 | 0.23227 | 3.1121 | 0.50451 | 0.79616 | 4.9007 | N/A
35AR | Unmeasured non-household - uspl | Input outturn data | Ml/d | 2dp | Required | 0.038412 | 0.0098122 | 0.03673 | 1.317 | 0.059974 | 0.096341 | 1.5583 | N/A
36AR | Measured household - uspl | Input outturn data | Ml/d | 2dp | Required | 1.9709 | 0.64529 | 2.5331 | 35.1881 | 4.21 | 8.2976 | 52.845 | N/A
37AR | Unmeasured household - uspl | Input outturn data | Ml/d | 2dp | Required | 2.6829 | 0.69419 | 4.2691 | 67.4566 | 8.5615 | 8.0221 | 91.6865 | N/A
38AR | Void properties - uspl | Input outturn data | Ml/d | 2dp | Required | 0.24649 | 0.06761 | 0.27951 | 6.5895 | 0.52957 | 0.91205 | 8.6248 | N/A
39AR | Distribution Losses | Input outturn data | Ml/d | 2dp | Required | 12.2787 | 3.0272 | 16.2825 | 286.1171 | 29.5871 | 49.3424 | 396.635 | N/A
40AR | Total leakage | Outturn data: Total USPL + distribution losses | Ml/d | 2dp | Required | 17.4168 | 4.5003 | 23.6333 | 399.7805 | 43.4527 | 67.4667 | 556.2503 | 3.1
CUSTOMERS
Properties
42AR | Measured non-household - properties | Input end of reporting year data | 000's | 3dp | Required | 2.8761 | 0.89501 | 6.3843 | 103.8203 | 9.8635 | 21.2078 | 145.047 | N/A
43AR | Unmeasured non-household - properties | Input end of reporting year data | 000's | 3dp | Required | 0.3219 | 0.090867 | 0.58677 | 25.5364 | 0.6815 | 1.4916 | 28.709 | N/A
44AR | Void non households - properties | Input end of reporting year data | 000's | 3dp | Required | 0.51146 | 0.13746 | 0.98116 | 27.8396 | 1.5645 | 3.4598 | 34.494 | N/A
45AR | Measured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp | Required | 39.787 | 14.3951 | 97.4826 | 1643.5381 | 115.2419 | 309.4602 | 2219.905 | N/A
45.7AR | Measured household void properties | Input end of reporting year data | 000's | 3dp | Required | 0.49831 | 0.15457 | 1.1946 | 25.7509 | 1.4675 | 3.3545 | 32.4204 | N/A
46AR | Unmeasured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp | Required | 22.4829 | 6.4285 | 68.2007 | 1307.9285 | 97.2869 | 124.1995 | 1626.527 | N/A
47AR | Unmeasured household void properties | Input end of reporting year data | 000's | 3dp | Required | 1.0559 | 0.33408 | 2.2894 | 74.1751 | 2.9856 | 7.306 | 88.1461 | N/A
48AR | Total resource zone properties (inc voids) | End of reporting year data : Total non-household properties + total void non-household properties + total household properties + total void household properties | 000's | 3dp | Required | 67.5334 | 22.4357 | 177.1196 | 3208.5889 | 229.0915 | 470.4794 | 4175.2485 | N/A
Population
49AR | Measured non-household - population | Input end of reporting year data | 000's | 3dp | Required | 7.4676 | 0.27145 | 6.791 | 51.4431 | 5.2813 | 32.589 | 103.8434 | N/A
50AR | Unmeasured non-household - population | Input end of reporting year data | 000's | 3dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
51AR | Measured household - population | Input end of reporting year data | 000's | 3dp | Required | 103.9721 | 35.2249 | 243.2776 | 4690.3082 | 287.7144 | 765.4413 | 6125.9384 | N/A
52AR | Unmeasured household population | Input end of reporting year data | 000's | 3dp | Required | 61.1791 | 16.6414 | 191.2905 | 3431.8173 | 289.3469 | 326.2451 | 4316.5204 | N/A
53AR | Total resource zone population | End of reporting year data: Unmeasured and measured household population + Unmeasured and measured non-household population | 000's | 3dp | Required | 172.6188 | 52.1377 | 441.3591 | 8173.5687 | 582.3426 | 1124.2753 | 10546.3022 | Table 7
Metering
57AR | Total measured household metering penetration (incl. voids) | Outturn data: Measured household properties exc. voids / (measured household properties exc. voids + unmeasured household properties exc. voids) + measured and unmeasured household void properties) | % | 2dp | Required | 62.34% | 67.54% | 57.62% | 53.86% | 53.11% | 69.65% | 55.96% | 3.3
57.1AR | Total households with a meter installed | Input outturn data (See technical annex for guidance) | % | 2dp | Optional | 64.8% | 68.27% | 58.35% | 56.66% | 53.8% | 71.99% | 58.49% | 3.3
57.2AR | Total numbers of household meters installed | Input outturn data | 000's | 3dp | Required | 1.714 | 0.044 | 2.363 | 75.096 | 2.251 | 10.713 | 92.181 | 3.3
SUPPLY-DEMAND BALANCE
16AR | Target headroom | Input adjusted reporting year figure or DYAA WRMP value | Ml/d | 2dp | Required | 1.2068 | 0.36952 | 5.3061 | 78.0447 | 3.7036 | 8.3643 | 96.9951 | Appendix 4
18AR | Observed supply-demand balance (in reporting year) | (Total WAFU - DI) - target headroom | Ml/d | 2dp | Required | 6.8432 | 4.8405 | 24.5739 | 82.6058 | 17.2264 | 37.8157 | 173.9055 | Table 3 | Please note that we do not assess a CP scenario for London, and so the values for the London WRZ are as-per the AR Outturn tab
QA check 1 | Distribution input | 23AR + 24AR + 25AR + 26AR + 32AR + 33AR + 40AR |  |  |  | 1e-06 | 7.1054e-15 | 1.4211e-14 | 3.638e-12 | 1e-06 | 1e-06 | 3e-06
QA check 2 | Water available for use (own sources) | 7AR - (9AR + 10AR) |  |  |  | -0.00055946 | 0 | -2.8422e-14 | 0 | 0 | -0.0034902 | -0.0040497
QA check 3 | Total WAFU | 12AR + (2.1AR + 3.1AR + 2.2AR + 3.2AR) - (5.2AR + 6.1AR + 5.3AR + 6.2AR) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | -4.5475e-13
QA check 4 | Total outage | 10.1AR + 10.2AR |  |  |  | 4.91 | 0.36 | 5.12 | 60.3 | 8.08 | 2.64 | 81.41 |  | This QA check is red as we have not completed the optional outage subcomponents
QA check 5 | Total properties | 42AR + 43AR + 45AR + 45.7AR + 46AR + 47AR |  |  |  | 0 | 2.4869e-14 | 3.1264e-13 | 3.1832e-12 | -8.2423e-13 | 5.6843e-14 | 2.7285e-12
QA check 6 | Total population | 49AR + 50AR + 51AR + 52AR |  |  |  | 2.8422e-13 | -2.8422e-14 | 1.7053e-13 | 2.7285e-12 | 3.4106e-13 | -3.638e-12 | 0
QA check 7 | Household metering | 42AR / (42AR + 43AR + 45.7AR + 47AR) |  |  |  | 0 | -1.1102e-16 | 0 | 0 | -1.1102e-16 | 0 | 0 |  | Formula edited as the formula was in error in the template
QA check 8 | Average pcc | ((25AR + 26AR) * 1,000,000) / ((49AR + 50AR) * 1,000)) |  |  |  | 0 | 0 | 0 | 0 | -2.8422e-14 | -2.8422e-14 | 0
QA check 9 | Total leakage | 34AR + 35AR + 36AR + 37AR + 38AR + 39AR |  |  |  | 0 | 0 | 0 | 1.08e-12 | 0 | 1.4211e-14 | 1.1369e-12
QA check 10 | Supply-demand balance | (13AR - 11AR) - 16AR |  |  |  | 1.7764e-15 | -1.7764e-15 | 0 | 5.6843e-14 | -1.4211e-14 | -7.1054e-15 | 2.558e-13
Values returns as zero where calculated value equals input value
For volumetric metrics, QA value will show as red text where calculated value +/- 0.1 Ml/d from entered values.
For population and property QA, value will show as red text where calculated value is +/- 0.01 (10) difference from entered values
Note on G83: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Tibbetts, Joe do you happen to know why this QA test always tests red? I can't see an issue in the formula but was just curious.

## DYAA
WRMP ANNUAL REVIEW DATA TEMPLATE - WATER BALANCE COMPONENTS
Water company: | Thames Water
Number of resource zones: | 6
Year of data submission: | 2023/24
Reporting against WRMP: | WRMP19 (with leakage forecast updated using the Ofwat convergent methodology)
Scenario: | Dry year uplifted/adjusted
(Delete/insert columns appropriate to the number of resource zones)
Row numbering in line with WRMP structure | Component | Derivation and type of data | Units | DP | Data requirement | Guildford | Henley | Kennet Valley | London | SWA | SWOX | Water company total data | Page or section reference in AR narrative or report | Notes on data provided
SUPPLY
Resources
1AR | Raw water abstracted | Input outturn data | Ml/d | 2dp | Required | 55.6802 | 14.6074 | 121.7288 | 2156.24 | 157.4246 | 298.8702 | 2804.5512 | N/A | Doesn't fully align with abstration returns due to correction for meter error
2.1AR | Internal raw water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0 | 0.1 | 0 | 0 | 1.83 | 1.93 | N/A
3.1AR | Internal potable water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
5.2AR | Internal raw water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0.1 | 0 | 0 | 1.83 | 0 | 1.93 | N/A
6.1AR | Internal potable water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
2.2AR | External raw water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
3.2AR | External potable water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3.4
5.3AR | External raw water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0 | 0 | 2 | 0 | 0 | 2 | N/A
6.2AR | External potable water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | If applicable | 2.27 | 0 | 0.32 | 18.53 | 1.88 | 2.55 | 25.55 | N/A | Exports from London do not include the Essex and Suffolk Water transfer, as this transfer is included in the calculation of Deployable Output due to its magnitude
5.1AR | Non potable water supplied | Input outturn data | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
7AR | Deployable output (please include and reflect the changes to DO, the sum of 8.1, 8.2 and 8.3, in the WRMP19 tables) | Input dry year figure | Ml/d | 2dp | Required | 67.0506 | 18.85 | 142.76 | 2161.62 | 178.18 | 320.18 | 2888.6406 | Appendix 1
12AR | Water Available For Use (own sources) | (Deployable Output + changes to DO) - (Treatment works losses and operational use + outage experienced). | Ml/d | 2dp | Required | 64.7906 | 18.59 | 141.09 | 2101.32 | 173.21 | 319.04 | 2818.0406 | 2.3; 3.5
13AR | Total Water Available For Use | WAFU own sources + (total water imported) - (total water exported). Total WAFU is based on external transfers reported as the most challenging scenario for contractual volumes as stated in Appendix 1 of the technical annex and internal transfers reported as outturn volumes. | Ml/d | 2dp | Required | 62.5206 | 18.49 | 140.87 | 2080.79 | 169.5 | 318.32 | 2790.4906 | 2.3; 3.5
Process Losses
9AR | Raw water losses, treatment works losses and operational use | Input outturn data | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | We have assigned 0 Ml/d to all WRZs for process loss, as process losses are incorporated into our calculation of Deployable Output. (Values calculated as: Guildford 3.30Ml/d, Henley 0.36Ml/d, Kennet Valley 8.61Ml/d, London 67.12Ml/d, SWA 2.73Ml/d, SWOX 5.68Ml/d).
10AR | Total outage experienced | Input outturn data | Ml/d | 2dp | Required | 2.26 | 0.26 | 1.67 | 60.3 | 4.97 | 1.14 | 70.6 | 2.3.2 | "Actual outage", rather than "Outage Allowance"
10.1AR | Unplanned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp | Optional | [6 empty] | 0 | N/A
10.2AR | Planned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp | Optional | [6 empty] | 0 | N/A
DEMAND
11AR | Distribution input (in reporting year) | Outturn data for: Total household and non-household consumption + water taken unbilled + distribution system operational losses + total leakage | Ml/d | 2dp | Required | 49.82 | 13.99 | 105.7 | 1936.07 | 150.62 | 290.33 | 2546.53 | 2.4.2 | Distribution Input and sub-components uplifted to a "Dry Year" scenario
12.1AR | Non potable water demand/consumption | Input outturn data | Ml/d | 2dp | If applicable | [6 empty] | 0 | N/A
Consumption
23AR | Measured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 6.9828 | 1.4385 | 17.4079 | 311.1333 | 19.8869 | 53.1358 | 409.9853 | N/A
24AR | Unmeasured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 0.16148 | 0.040317 | 0.26132 | 11.2645 | 0.29032 | 0.75316 | 12.7711 | N/A
25AR | Measured household - consumption | Input outturn data | Ml/d | 2dp | Required | 12.381 | 4.6412 | 30.1737 | 565.1317 | 36.2827 | 95.6079 | 744.2182 | N/A
26AR | Unmeasured household - consumption | Input outturn data | Ml/d | 2dp | Required | 9.3878 | 2.4621 | 27.9031 | 568.3089 | 42.7771 | 50.9315 | 701.7704 | N/A
29AR | Measured household - pcc | Outturn data: (Measured household consumption * 1,000,000) / (measured household population * 1,000) | l/h/d | 0dp | Required | 119.0801 | 131.7593 | 124.0298 | 120.4892 | 126.1066 | 124.9056 | 121.4864 | N/A
30AR | Unmeasured household - pcc | Outturn data: (Unmeasured household consumption * 1,000,000) / (Unmeasured household population * 1,000) | l/h/d | 0dp | Required | 153.4478 | 147.9498 | 145.8674 | 165.6 | 147.8401 | 156.1142 | 162.5778 | N/A
31AR | Average household - pcc | Outturn data: (Measured and unmeasured household consumption * 1,000,000) / (measured and unmeasured household population * 1,000) | l/h/d | 0dp | Required | 131.8114 | 136.9541 | 133.6424 | 139.5497 | 137.0041 | 134.2321 | 138.472 | 3.2; Appendix 3
32AR | Water taken unbilled | Input outturn data | Ml/d | 2dp | Required | 1.1836 | 0.25739 | 2.4208 | 55.333 | 2.4887 | 8.7305 | 70.414 | N/A
33AR | Distribution system operational use | Input outturn data | Ml/d | 2dp | Required | 0.51057 | 0.10302 | 0.7381 | 12.0566 | 1.017 | 2.6645 | 17.0898 | N/A
Leakage
34AR | Measured non household - uspl | Input outturn data | Ml/d | 2dp | Required | 0.20362 | 0.056319 | 0.2395 | 3.2018 | 0.50973 | 0.86 | 5.071 | N/A
35AR | Unmeasured non-household - uspl | Input outturn data | Ml/d | 2dp | Required | 0.039211 | 0.0098378 | 0.037872 | 1.355 | 0.060595 | 0.10407 | 1.6066 | N/A
36AR | Measured household - uspl | Input outturn data | Ml/d | 2dp | Required | 2.0119 | 0.64697 | 2.6119 | 36.2023 | 4.2536 | 8.9629 | 54.6897 | N/A
37AR | Unmeasured household - uspl | Input outturn data | Ml/d | 2dp | Required | 2.7387 | 0.696 | 4.4019 | 69.4008 | 8.6502 | 8.6654 | 94.5531 | N/A
38AR | Void properties - uspl | Input outturn data | Ml/d | 2dp | Required | 0.25162 | 0.067786 | 0.2882 | 6.7795 | 0.53505 | 0.98518 | 8.9073 | N/A
39AR | Distribution Losses | Input outturn data | Ml/d | 2dp | Required | 13.9677 | 3.5706 | 19.2157 | 295.9026 | 33.8681 | 58.929 | 425.4537 | N/A
40AR | Total leakage | Outturn data: Total USPL + distribution losses | Ml/d | 2dp | Required | 19.2128 | 5.0475 | 26.7951 | 412.8421 | 47.8773 | 78.5066 | 590.2813 | 3.1
CUSTOMERS
Properties
42AR | Measured non-household - properties | Input end of reporting year data | 000's | 3dp | Required | 2.8761 | 0.89501 | 6.3843 | 103.8203 | 9.8635 | 21.2078 | 145.047 | N/A
43AR | Unmeasured non-household - properties | Input end of reporting year data | 000's | 3dp | Required | 0.3219 | 0.090867 | 0.58677 | 25.5364 | 0.6815 | 1.4916 | 28.709 | N/A
44AR | Void non households - properties | Input end of reporting year data | 000's | 3dp | Required | 0.51146 | 0.13746 | 0.98116 | 27.8396 | 1.5645 | 3.4598 | 34.494 | N/A
45AR | Measured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp | Required | 39.787 | 14.3951 | 97.4826 | 1643.5381 | 115.2419 | 309.4602 | 2219.905 | N/A
45.7AR | Measured household void properties | Input end of reporting year data | 000's | 3dp | Required | 0.49831 | 0.15457 | 1.1946 | 25.7509 | 1.4675 | 3.3545 | 32.4204 | N/A
46AR | Unmeasured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp | Required | 22.4829 | 6.4285 | 68.2007 | 1307.9285 | 97.2869 | 124.1995 | 1626.527 | N/A
47AR | Unmeasured household void properties | Input end of reporting year data | 000's | 3dp | Required | 1.0559 | 0.33408 | 2.2894 | 74.1751 | 2.9856 | 7.306 | 88.1461 | N/A
48AR | Total resource zone properties (inc voids) | End of reporting year data : Total non-household properties + total void non-household properties + total household properties + total void household properties | 000's | 3dp | Required | 67.5334 | 22.4357 | 177.1196 | 3208.5889 | 229.0915 | 470.4794 | 4175.2485 | N/A
Population
49AR | Measured non-household - population | Input end of reporting year data | 000's | 3dp | Required | 7.4676 | 0.27145 | 6.791 | 51.4431 | 5.2813 | 32.589 | 103.8434 | N/A
50AR | Unmeasured non-household - population | Input end of reporting year data | 000's | 3dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
51AR | Measured household - population | Input end of reporting year data | 000's | 3dp | Required | 103.9721 | 35.2249 | 243.2776 | 4690.3082 | 287.7144 | 765.4413 | 6125.9384 | N/A
52AR | Unmeasured household population | Input end of reporting year data | 000's | 3dp | Required | 61.1791 | 16.6414 | 191.2905 | 3431.8173 | 289.3469 | 326.2451 | 4316.5204 | N/A
53AR | Total resource zone population | End of reporting year data: Unmeasured and measured household population + Unmeasured and measured non-household population | 000's | 3dp | Required | 172.6188 | 52.1377 | 441.3591 | 8173.5687 | 582.3426 | 1124.2753 | 10546.3022 | Table 7
Metering
57AR | Total measured household metering penetration (incl. voids) | Outturn data: Measured household properties exc. voids / (measured household properties exc. voids + unmeasured household properties exc. voids) + measured and unmeasured household void properties) | % | 2dp | Required | 62.34% | 67.54% | 57.62% | 53.86% | 53.11% | 69.65% | 55.96% | 3.3
57.1AR | Total households with a meter installed | Input outturn data (See technical annex for guidance) | % | 2dp | Optional | 64.8% | 68.27% | 58.35% | 56.66% | 53.8% | 71.99% | 58.49% | 3.3
57.2AR | Total numbers of household meters installed | Input outturn data | 000's | 3dp | Required | 1.714 | 0.044 | 2.363 | 75.096 | 2.251 | 10.713 | 92.181 | 3.3
SUPPLY-DEMAND BALANCE
16AR | Target headroom | Input adjusted reporting year figure or DYAA WRMP value | Ml/d | 2dp | Required | 1.11 | 0.37 | 4.69 | 78.04 | 2.89 | 6.65 | 93.75 | Appendix 4
18AR | Observed supply-demand balance (in reporting year) | (Total WAFU - DI) - target headroom | Ml/d | 2dp | Required | 11.5906 | 4.13 | 30.48 | 66.68 | 15.99 | 21.34 | 150.2106 | Table 2
QA check 1 | Distribution input | 23AR + 24AR + 25AR + 26AR + 32AR + 33AR + 40AR |  |  |  | 7.816e-14 | -1.954e-14 | -2.8422e-14 | -3.4106e-12 | -1.9895e-13 | -1.7053e-13 | -3.638e-12
QA check 2 | Water available for use (own sources) | 7AR - (9AR + 10AR) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
QA check 3 | Total WAFU | 12AR + (2.1AR + 3.1AR + 2.2AR + 3.2AR) - (5.2AR + 6.1AR + 5.3AR + 6.2AR) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 4.5475e-13
QA check 4 | Total outage | 10.1AR + 10.2AR |  |  |  | 2.26 | 0.26 | 1.67 | 60.3 | 4.97 | 1.14 | 70.6 |  | This QA check is red as we have not completed the optional outage subcomponents
QA check 5 | Total properties | 42AR + 43AR + 45AR + 45.7AR + 46AR + 47AR |  |  |  | 0 | 2.4869e-14 | 3.1264e-13 | 3.1832e-12 | -8.2423e-13 | 5.6843e-14 | 2.7285e-12
QA check 6 | Total population | 49AR + 50AR + 51AR + 52AR |  |  |  | 2.8422e-13 | -2.8422e-14 | 1.7053e-13 | 2.7285e-12 | 3.4106e-13 | -3.638e-12 | 0
QA check 7 | Household metering | 42AR / (42AR + 43AR + 45.7AR + 47AR) |  |  |  | 0 | -1.1102e-16 | 0 | 0 | -1.1102e-16 | 0 | 0 |  | Formula edited as the formula was in error in the template
QA check 8 | Average pcc | ((25AR + 26AR) * 1,000,000) / ((49AR + 50AR) * 1,000)) |  |  |  | 0 | 0 | -2.8422e-14 | 0 | 0 | 0 | -2.8422e-14
QA check 9 | Total leakage | 34AR + 35AR + 36AR + 37AR + 38AR + 39AR |  |  |  | -1.0658e-14 | -2.6645e-15 | -3.908e-14 | 2.2737e-13 | 4.2633e-14 | 0 | 3.4106e-13
QA check 10 | Supply-demand balance | (13AR - 11AR) - 16AR |  |  |  | 0 | 8.8818e-16 | 3.5527e-15 | 4.2633e-14 | 1.4211e-14 | 2.1316e-14 | -4.5475e-13
Values returns as zero where calculated value equals input value
For volumetric metrics, QA value will show as red text where calculated value +/- 0.1 Ml/d from entered values.
For population and property QA, value will show as red text where calculated value is +/- 0.01 (10) difference from entered values
Note on G83: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Tibbetts, Joe do you happen to know why this QA test always tests red? I can't see an issue in the formula but was just curious.

## DYCP
WRMP ANNUAL REVIEW DATA TEMPLATE - WATER BALANCE COMPONENTS
Water company: | Thames Water
Number of resource zones: | 6
Year of data submission: | 2023/24
Reporting against WRMP: | WRMP19 (with leakage forecast updated using the Ofwat convergent methodology)
Scenario: | Critical period uplifted/adjusted
(Delete/insert columns appropriate to the number of resource zones)
Row numbering in line with WRMP structure | Component | Derivation and type of data | Units | DP | Data requirement | Guildford | Henley | Kennet Valley | London | SWA | SWOX | Water company total data | Page or section reference in AR narrative or report | Notes on data provided
SUPPLY
Resources
1AR | Raw water abstracted | Input outturn data | Ml/d | 2dp | Required | 65.6959 | 16.4953 | 138.0875 | 2156.24 | 180.6199 | 319.7864 | 2876.9248 | N/A | Doesn't fully align with abstration returns due to correction for meter error
2.1AR | Internal raw water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0.69 | 0 | 0 | 0 | 4.25 | 4.94 | N/A | Transfers different between Annual Average and Critical Period Scenarios, and so "un-greyed" cells
3.1AR | Internal potable water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | Transfers different between Annual Average and Critical Period Scenarios, and so "un-greyed" cells
5.2AR | Internal raw water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0 | 0.69 | 0 | 4.25 | 0 | 4.94 | N/A | Transfers different between Annual Average and Critical Period Scenarios, and so "un-greyed" cells
6.1AR | Internal potable water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | Transfers different between Annual Average and Critical Period Scenarios, and so "un-greyed" cells
2.2AR | External raw water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | Transfers different between Annual Average and Critical Period Scenarios, and so "un-greyed" cells
3.2AR | External potable water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3.4 | Transfers different between Annual Average and Critical Period Scenarios, and so "un-greyed" cells
5.3AR | External raw water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0 | 0 | 2 | 0 | 0 | 2 | N/A | Transfers different between Annual Average and Critical Period Scenarios, and so "un-greyed" cells
6.2AR | External potable water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | If applicable | 2.27 | 0 | 0.37 | 18.53 | 2.17 | 3.01 | 26.35 | N/A | Exports from London do not include the Essex and Suffolk Water transfer, as this transfer is included in the calculation of Deployable Output due to its magnitude
5.1AR | Non potable water supplied | Input outturn data | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
7AR | Deployable output (please include and reflect the changes to DO, the sum of 8.1, 8.2 and 8.3, in the WRMP19 tables) | Input dry year figure | Ml/d | 2dp | Required | 71.6306 | 21.59 | 146.32 | 2161.62 | 194.83 | 354.3035 | 2950.294 | Appendix 1
12AR | Water Available For Use (own sources) | (Deployable Output + changes to DO) - (Treatment works losses and operational use + outage experienced). | Ml/d | 2dp | Required | 66.72 | 21.23 | 141.2 | 2101.32 | 186.75 | 351.66 | 2868.88 | 2.3; 3.5
13AR | Total Water Available For Use | WAFU own sources + (total water imported) - (total water exported). Total WAFU is based on external transfers reported as the most challenging scenario for contractual volumes as stated in Appendix 1 of the technical annex and internal transfers reported as outturn volumes. | Ml/d | 2dp | Required | 64.45 | 21.92 | 140.14 | 2080.79 | 180.33 | 352.9 | 2840.53 | 2.3; 3.5
Process Losses
9AR | Raw water losses, treatment works losses and operational use | Input outturn data | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | We have assigned 0 Ml/d to all WRZs for process loss, as process losses are incorporated into our calculation of Deployable Output. (Values calculated as: Guildford 3.02Ml/d, Henley 0Ml/d, Kennet Valley 8.82Ml/d, London 67.12Ml/d, SWA 1.69Ml/d, SWOX 11.12Ml/d).
10AR | Total outage experienced | Input outturn data | Ml/d | 2dp | Required | 4.91 | 0.36 | 5.12 | 60.3 | 8.08 | 2.64 | 81.41 | 2.3.2 | "Actual outage", rather than "Outage Allowance"
10.1AR | Unplanned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp | Optional | [6 empty] | 0 | N/A
10.2AR | Planned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp | Optional | [6 empty] | 0 | N/A
DEMAND
11AR | Distribution input (in reporting year) | Outturn data for: Total household and non-household consumption + water taken unbilled + distribution system operational losses + total leakage | Ml/d | 2dp | Required | 61.41 | 18.69 | 120.58 | 1936.07 | 173.04 | 342.35 | 2652.14 | 2.4.2 | Distribution Input and sub-components uplifted to a "Dry Year" scenario
12.1AR | Non potable water demand/consumption | Input outturn data | Ml/d | 2dp | If applicable | [6 empty] | 0 | N/A
Consumption
23AR | Measured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 9.7929 | 3.17 | 10.1964 | 311.1333 | 12.2681 | 50.8563 | 397.417 | N/A
24AR | Unmeasured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 0.22601 | 0.088393 | 0.15342 | 11.2645 | 0.17977 | 0.72097 | 12.633 | N/A
25AR | Measured household - consumption | Input outturn data | Ml/d | 2dp | Required | 17.1408 | 6.4251 | 40.9478 | 565.1317 | 49.2443 | 130.2108 | 809.1005 | N/A
26AR | Unmeasured household - consumption | Input outturn data | Ml/d | 2dp | Required | 13.5202 | 3.5741 | 39.3362 | 568.3089 | 59.9527 | 72.3851 | 757.0773 | N/A
29AR | Measured household - pcc | Outturn data: (Measured household consumption * 1,000,000) / (measured household population * 1,000) | l/h/d | 0dp | Required | 164.8601 | 182.4016 | 168.3172 | 120.4892 | 171.157 | 170.112 | 132.0778 | N/A
30AR | Unmeasured household - pcc | Outturn data: (Unmeasured household consumption * 1,000,000) / (Unmeasured household population * 1,000) | l/h/d | 0dp | Required | 220.9941 | 214.7738 | 205.636 | 165.6 | 207.2001 | 221.8734 | 175.3906 | N/A
31AR | Average household - pcc | Outturn data: (Measured and unmeasured household consumption * 1,000,000) / (measured and unmeasured household population * 1,000) | l/h/d | 0dp | Required | 185.6545 | 192.7883 | 184.7444 | 139.5497 | 189.2295 | 185.5807 | 149.9817 | 3.2; Appendix 3
32AR | Water taken unbilled | Input outturn data | Ml/d | 2dp | Required | 1.5567 | 0.34093 | 3.0563 | 55.333 | 3.0819 | 11.3369 | 74.7058 | N/A
33AR | Distribution system operational use | Input outturn data | Ml/d | 2dp | Required | 0.51057 | 0.10302 | 0.7381 | 12.0566 | 1.017 | 2.6645 | 17.0898 | N/A
Leakage
34AR | Measured non household - uspl | Input outturn data | Ml/d | 2dp | Required | 0.20362 | 0.056319 | 0.2395 | 3.2018 | 0.50973 | 0.86 | 5.071 | N/A
35AR | Unmeasured non-household - uspl | Input outturn data | Ml/d | 2dp | Required | 0.039211 | 0.0098378 | 0.037872 | 1.355 | 0.060595 | 0.10407 | 1.6066 | N/A
36AR | Measured household - uspl | Input outturn data | Ml/d | 2dp | Required | 2.0119 | 0.64697 | 2.6119 | 36.2023 | 4.2536 | 8.9629 | 54.6897 | N/A
37AR | Unmeasured household - uspl | Input outturn data | Ml/d | 2dp | Required | 2.7387 | 0.696 | 4.4019 | 69.4008 | 8.6502 | 8.6654 | 94.5531 | N/A
38AR | Void properties - uspl | Input outturn data | Ml/d | 2dp | Required | 0.25162 | 0.067786 | 0.2882 | 6.7795 | 0.53505 | 0.98518 | 8.9073 | N/A
39AR | Distribution Losses | Input outturn data | Ml/d | 2dp | Required | 13.4177 | 3.5116 | 18.5724 | 295.9026 | 33.287 | 54.5978 | 419.289 | N/A
40AR | Total leakage | Outturn data: Total USPL + distribution losses | Ml/d | 2dp | Required | 18.6627 | 4.9885 | 26.1518 | 412.8421 | 47.2962 | 74.1754 | 584.1166 | 3.1
CUSTOMERS
Properties
42AR | Measured non-household - properties | Input end of reporting year data | 000's | 3dp | Required | 2.8761 | 0.89501 | 6.3843 | 103.8203 | 9.8635 | 21.2078 | 145.047 | N/A
43AR | Unmeasured non-household - properties | Input end of reporting year data | 000's | 3dp | Required | 0.3219 | 0.090867 | 0.58677 | 25.5364 | 0.6815 | 1.4916 | 28.709 | N/A
44AR | Void non households - properties | Input end of reporting year data | 000's | 3dp | Required | 0.51146 | 0.13746 | 0.98116 | 27.8396 | 1.5645 | 3.4598 | 34.494 | N/A
45AR | Measured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp | Required | 39.787 | 14.3951 | 97.4826 | 1643.5381 | 115.2419 | 309.4602 | 2219.905 | N/A
45.7AR | Measured household void properties | Input end of reporting year data | 000's | 3dp | Required | 0.49831 | 0.15457 | 1.1946 | 25.7509 | 1.4675 | 3.3545 | 32.4204 | N/A
46AR | Unmeasured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp | Required | 22.4829 | 6.4285 | 68.2007 | 1307.9285 | 97.2869 | 124.1995 | 1626.527 | N/A
47AR | Unmeasured household void properties | Input end of reporting year data | 000's | 3dp | Required | 1.0559 | 0.33408 | 2.2894 | 74.1751 | 2.9856 | 7.306 | 88.1461 | N/A
48AR | Total resource zone properties (inc voids) | End of reporting year data : Total non-household properties + total void non-household properties + total household properties + total void household properties | 000's | 3dp | Required | 67.5334 | 22.4357 | 177.1196 | 3208.5889 | 229.0915 | 470.4794 | 4175.2485 | N/A
Population
49AR | Measured non-household - population | Input end of reporting year data | 000's | 3dp | Required | 7.4676 | 0.27145 | 6.791 | 51.4431 | 5.2813 | 32.589 | 103.8434 | N/A
50AR | Unmeasured non-household - population | Input end of reporting year data | 000's | 3dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
51AR | Measured household - population | Input end of reporting year data | 000's | 3dp | Required | 103.9721 | 35.2249 | 243.2776 | 4690.3082 | 287.7144 | 765.4413 | 6125.9384 | N/A
52AR | Unmeasured household population | Input end of reporting year data | 000's | 3dp | Required | 61.1791 | 16.6414 | 191.2905 | 3431.8173 | 289.3469 | 326.2451 | 4316.5204 | N/A
53AR | Total resource zone population | End of reporting year data: Unmeasured and measured household population + Unmeasured and measured non-household population | 000's | 3dp | Required | 172.6188 | 52.1377 | 441.3591 | 8173.5687 | 582.3426 | 1124.2753 | 10546.3022 | Table 7
Metering
57AR | Total measured household metering penetration (incl. voids) | Outturn data: Measured household properties exc. voids / (measured household properties exc. voids + unmeasured household properties exc. voids) + measured and unmeasured household void properties) | % | 2dp | Required | 62.34% | 67.54% | 57.62% | 53.86% | 53.11% | 69.65% | 55.96% | 3.3
57.1AR | Total households with a meter installed | Input outturn data (See technical annex for guidance) | % | 2dp | Optional | 64.8% | 68.27% | 58.35% | 56.66% | 53.8% | 71.99% | 58.49% | 3.3
57.2AR | Total numbers of household meters installed | Input outturn data | 000's | 3dp | Required | 1.714 | 0.044 | 2.363 | 75.096 | 2.251 | 10.713 | 92.181 | 3.3
SUPPLY-DEMAND BALANCE
16AR | Target headroom | Input adjusted reporting year figure or DYAA WRMP value | Ml/d | 2dp | Required | 1.2068 | 0.36952 | 5.3061 | 78.0447 | 3.7036 | 8.3643 | 96.9951 | Appendix 4
18AR | Observed supply-demand balance (in reporting year) | (Total WAFU - DI) - target headroom | Ml/d | 2dp | Required | 1.8332 | 2.8605 | 14.2539 | 66.6753 | 3.5864 | 2.1857 | 91.3949 | Table 3 | Please note that we do not assess a CP scenario for London, and so the values for the London WRZ are as-per the DYAA tab
QA check 1 | Distribution input | 23AR + 24AR + 25AR + 26AR + 32AR + 33AR + 40AR |  |  |  | 4.2633e-14 | -1.0658e-14 | -5.6843e-14 | -3.4106e-12 | -5.6843e-14 | -2.8422e-13 | -3.1832e-12
QA check 2 | Water available for use (own sources) | 7AR - (9AR + 10AR) |  |  |  | -0.00055946 | 0 | -2.8422e-14 | 0 | 0 | -0.0034902 | -0.0040497
QA check 3 | Total WAFU | 12AR + (2.1AR + 3.1AR + 2.2AR + 3.2AR) - (5.2AR + 6.1AR + 5.3AR + 6.2AR) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | -4.5475e-13
QA check 4 | Total outage | 10.1AR + 10.2AR |  |  |  | 4.91 | 0.36 | 5.12 | 60.3 | 8.08 | 2.64 | 81.41 |  | This QA check is red as we have not completed the optional outage subcomponents
QA check 5 | Total properties | 42AR + 43AR + 45AR + 45.7AR + 46AR + 47AR |  |  |  | 0 | 2.4869e-14 | 3.1264e-13 | 3.1832e-12 | -8.2423e-13 | 5.6843e-14 | 2.7285e-12
QA check 6 | Total population | 49AR + 50AR + 51AR + 52AR |  |  |  | 2.8422e-13 | -2.8422e-14 | 1.7053e-13 | 2.7285e-12 | 3.4106e-13 | -3.638e-12 | 0
QA check 7 | Household metering | 42AR / (42AR + 43AR + 45.7AR + 47AR) |  |  |  | 0 | -1.1102e-16 | 0 | 0 | -1.1102e-16 | 0 | 0 |  | Formula edited as the formula was in error in the template
QA check 8 | Average pcc | ((25AR + 26AR) * 1,000,000) / ((49AR + 50AR) * 1,000)) |  |  |  | -2.8422e-14 | 0 | -2.8422e-14 | 0 | -2.8422e-14 | 2.8422e-14 | -2.8422e-14
QA check 9 | Total leakage | 34AR + 35AR + 36AR + 37AR + 38AR + 39AR |  |  |  | -4.2633e-14 | 0 | -4.2633e-14 | 2.2737e-13 | 0 | 0 | 1.1369e-13
QA check 10 | Supply-demand balance | (13AR - 11AR) - 16AR |  |  |  | 1.3323e-15 | 1.7764e-15 | 0 | 5.6843e-14 | -1.2434e-14 | -5.3291e-15 | 2.1316e-13
Values returns as zero where calculated value equals input value
For volumetric metrics, QA value will show as red text where calculated value +/- 0.1 Ml/d from entered values.
For population and property QA, value will show as red text where calculated value is +/- 0.01 (10) difference from entered values
Note on G83: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Tibbetts, Joe do you happen to know why this QA test always tests red? I can't see an issue in the formula but was just curious.

## Scheme Delivery
WRMP19 Scheme delivery | [5 empty] | Latest forecast
| WRMP19 schemes |  |  |  |  | 2020-21 |  |  |  | 2021-22 |  |  |  | 2022-23 |  |  |  | 2023-24 |  |  |  | 2024-25
Scheme outcome description as per final published WRMP19 | Reference as per final published WRMP19 | WRZ | Benefits to be delivered (Ml/d) | Delivery date | Category | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information
Didcot Licence transfer | RWP_Didcot | London | 18 | 2021 | Supply-side 2020-25 | 24 | 2021 | On-track |  | 24 | 2021 | On-track |  | 24 | 2021 | On-track |  | 24 | 2021 | On-track | The new temporary licence trade agreement with RWE Npower at Didcot, covering AMP7, was signed and came into force from 1st April 2020. The increase in target output from the trade, from 18 Ml/d to 24 Ml/d, is based on a reassessment of the benefits rather than reflective of a material change to the agreement itself.
New River Head | New River Head - Removal of Constraints 3Mld | London | 3 | 2021 | Supply-side 2020-25 | 0 | N/A | Deferred |  | 0 | N/A | Deferred |  | 0 | N/A | Deferred |  | 0 | N/A | N/A | The New River Head scheme requires further ground investigation work, which has been scoped, before the availability of the scheme can be confirmed and the solution can be fully defined. The benefit has been zeroed pending conclusion of these investigations.
Horton Kirby ASR | Horton Kirby ASR | London | 5 | 2025 | Supply-side 2020-25 |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 5 | 2030 | Deferred | Horton Kirby ASR is being progressed, but due to the length of time that the aquifer conditioning stage requires, the scheme will now deliver by the end of AMP8.
Southfleet and Greenhithe | Groundwater Southfleet/Greenhithe (new WTW) - 8 MLD | London | 8 | 2025 | Supply-side 2020-25 |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 0 | N/A | Other (explain in further information) | The delivery of Southfleet and Greenhithe has been deferred beyond 2050, in part due to one of the key drivers for the scheme, the London Resort, being indefinitely delayed.
Ladymead | Ladymead WTW - 4.6Mld | Guildford | 4.6 | 2025 | Supply-side 2020-25 |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 5.5 | 2030 | Deferred | The upgrade work is being delivered in two phases. The first phase was expected to deliver in 2023-24 and improves resilience, including replacing borehole pumps and drives, and upgrading the disinfection. There have been some upgrades to the contact tank and sampling facilities, with these aspects due to be completed during 2024-25. The upgrade to liquid disinfection programme has been delayed pending final agreement on a new location for an EA depot. The upgrade of borehole pumps at Ladymead and Dapdune groundwater sources has also been impacted by the delay from the disinfection programme, with testing and design work being progressed during 2024-25. The second phase, which is required to release the DO following the removal of constraints in the first phase, is upgrading the booster pumps. Due to the design complexity and delivery timescale, it is expected this will take until the end of AMP8 to deliver. The benefit from this scheme has increased from 4.6Ml/d to 5.5Ml/d, due to a reassessment of the base position. The previous benefit attempted to separate out upgrading the Dapdune borehole pumps with the assumption this would be done separately. This activity has been combined into the “removal of constraints” package of upgrade work, and the deployable output benefit is only realised once the booster pumps have been upgraded.
Shalford to Netley | N/A (No WAFU Benefit) | Guildford | N/A | 2026 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 14 | 2026 | Amended | We have one AMP7 scheme which is delivering a new 9km trunk main between Pewley Reservoir and Netley Mill WTW, which will improve our ability to transfer water across Guildford WRZ and improve resilience. The route of the main was originally from Shalford WTW but was changed to provide greater flexibility, with Pewley Reservoir being fed by both Shalford WTW and Ladymead WTW. The size of the new main has been increased (from 300 mm to 450 mm) to allow for potential full closure of Netley Mill abstraction in AMP10 under Environmental Destination. A larger main results in higher capex but provides an associated increase in benefit due to the larger capacity. Due to the change in scope and increased complexity, delivery is expected December 2025.
Leakage Reduction | GUI_FINAL | Guildford | 1.19 | 2020-25 | Leakage 2020-25 | 0.50236 | 2020-21 | Amended |  | 0.43434 | 2021-22 | Amended |  | -0.3464 | 2022-23 | Amended |  | 0.64398 | 2023-24 | Amended |  | 1.509 | 2024-25 | Amended
Leakage Reduction | HEN_FINAL | Henley | 0 | 2020-25 | Leakage 2020-25 | 0 | 2020-21 | Amended |  | 0 | 2021-22 | Amended |  | 0 | 2022-23 | Amended |  | 0 | 2023-24 | Amended |  | 0 | 2024-25 | Amended
Leakage Reduction | KV_FINAL | Kennet Valley | 0 | 2020-25 | Leakage 2020-25 | 0 | 2020-21 | Amended |  | 0 | 2021-22 | Amended |  | 0 | 2022-23 | Amended |  | 0 | 2023-24 | Amended |  | 0 | 2024-25 | Amended
Leakage Reduction | LON_FINAL | London | 93.288 | 2020-25 | Leakage 2020-25 | 23.2739 | 2020-21 | Amended |  | 10.8219 | 2021-22 | Amended |  | -33.9243 | 2022-23 | Amended |  | 24.1214 | 2023-24 | Amended |  | 82.22 | 2024-25 | Amended
Leakage Reduction | SWA_FINAL | SWA | 0 | 2020-25 | Leakage 2020-25 | 0 | 2020-21 | Amended |  | 0 | 2021-22 | Amended |  | 0 | 2022-23 | Amended |  | 0 | 2023-24 | Amended |  | 0 | 2024-25 | Amended
Leakage Reduction | SWOX_FINAL | SWOX | 5.666 | 2020-25 | Leakage 2020-25 | 2.5338 | 2020-21 | Amended |  | 2.4262 | 2021-22 | Amended |  | -1.1578 | 2022-23 | Amended |  | 3.5125 | 2023-24 | Amended |  | 7.8808 | 2024-25 | Amended
Water Efficiency | LON_FINAL | LON | 26.0787 | 2020-25 | Demand-side 2020-25 | 8.23 | 2020-21 | On-track |  | 21.591 | 2021-22 | On-track |  | 23.9596 | 2022-23 | Amended |  | 32.3169 | 2023-24 | Amended |  | 39.3449 | 2024-25 | Amended
Water Efficiency | SWOX_FINAL | SWOX | 6.6634 | 2020-25 | Demand-side 2020-25 | 0 | 2020-21 | On-track |  | 1.799 | 2021-22 | On-track |  | 1.9712 | 2022-23 | Amended |  | 4.4913 | 2023-24 | Amended |  | 6.4913 | 2024-25 | Amended
Water Efficiency | GUI_FINAL | GUI | 0.32771 | 2020-25 | Demand-side 2020-25 | 0 | 2020-21 | On-track |  | 0 | 2021-22 | On-track |  | 0.00018 | 2022-23 | Amended |  | 0.00018 | 2023-24 | Amended |  | 0.00018 | 2024-25 | Amended
Water Efficiency | SWA_FINAL | SWA | 0 | 2020-25 | Demand-side 2020-25 | 0 | 2020-21 | On-track |  | 0 | 2021-22 | On-track |  | 0.031134 | 2022-23 | Amended |  | 0.031134 | 2023-24 | Amended |  | 0.53113 | 2024-25 | Amended
Water Efficiency | KV_FINAL | KV | 0 | 2020-25 | Demand-side 2020-25 | 0 | 2020-21 | On-track |  | 0 | 2021-22 | On-track |  | 0.044699 | 2022-23 | Amended |  | 0.32882 | 2023-24 | Amended |  | 1.3288 | 2024-25 | Amended
Water Efficiency | HENLEY_FINAL | HENLEY | 0 | 2020-25 | Demand-side 2020-25 | 0 | 2020-21 | On-track |  | 0 | 2021-22 | On-track |  | 0 | 2022-23 | Amended |  | 0.019447 | 2023-24 | Amended |  | 0.019447 | 2024-25 | Amended
Household Metering (PMP) | LON_FINAL | LON | 28.6922 | 2020-21 | Metering | 0.39884 | 2020-21 | On-track |  | 4.8388 | 2021-22 | On-track |  | 13.1476 | 2022-23 | Amended |  | 19.5424 | 2023-24 | Amended |  | 24.7542 | 2024-25 | Amended
Progressive metering USPL Saving | LON_FINAL | LON | 22.6564 | 2020-21 | Metering | 1.7098 | 2020-21 | On-track |  | 3.6601 | 2021-22 | On-track |  | 4.8318 | 2022-23 | Amended |  | 5.8021 | 2023-24 | Amended |  | 6.4516 | 2024-25 | Amended
Replacement meter USPL Saving | LON_FINAL | LON | 3.5 | 2021-22 | Metering | 0.80396 | 2020-21 | On-track |  | 1.6542 | 2021-22 | On-track |  | 2.1844 | 2022-23 | Amended |  | 2.5411 | 2023-24 | Amended |  | 2.7842 | 2024-25 | Amended
SBF USPL Saving | LON_FINAL | LON | 2.2392 | 2020-21 | Metering | 0.02 | 2020-21 | Amended |  | 0.02 | 2021-22 | Amended |  | 0.02 | 2022-23 | Amended |  | 0.049486 | 2023-24 | Amended |  | 0.05 | 2024-25 | Amended
LBF USPL Saving | LON_FINAL | LON | 0.73413 | 2020-21 | Metering | 7.4504 | 2020-21 | Amended |  | 16.4978 | 2021-22 | Amended |  | 18.32 | 2022-23 | Amended |  | 19.1278 | 2023-24 | Amended |  | 19.3678 | 2024-25 | Amended
Household Metering (PMP) | SWOX_FINAL | SWOX | 2.3642 | 2020-21 | Metering | 0 | 2020-21 | On-track |  | 0 | 2021-22 | On-track |  | 0.11269 | 2022-23 | Amended |  | 1.1909 | 2023-24 | Amended |  | 1.8302 | 2024-25 | Amended
Progressive metering USPL Saving | SWOX_FINAL | SWOX | 3.9142 | 2020-21 | Metering | 0 | 2020-21 | On-track |  | 0 | 2021-22 | On-track |  | 0.20293 | 2022-23 | Amended |  | 0.31808 | 2023-24 | Amended |  | 0.43768 | 2024-25 | Amended
Replacement meter USPL Saving | SWOX_FINAL | SWOX | 0 | N/A | Metering | 0.08572 | 2020-21 | Amended |  | 0.14471 | 2021-22 | Amended |  | 0.21214 | 2022-23 | Amended |  | 0.25241 | 2023-24 | Amended |  | 0.31277 | 2024-25 | Amended
SBF USPL Saving | SWOX_FINAL | SWOX | 0.23019 | 2020-21 | Metering | 0 | 2020-21 | On-track |  | 0 | 2021-22 | On-track |  | 0 | 2022-23 | Amended |  | 0 | 2023-24 | Amended |  | 0 | 2024-25 | Amended
LBF USPL Saving | SWOX_FINAL | SWOX | 0.03032 | 2020-21 | Metering | 0.053989 | 2020-21 | On-track |  | 0.053989 | 2021-22 | On-track |  | 0.053989 | 2022-23 | Amended |  | 0.053989 | 2023-24 | Amended |  | 0.28149 | 2024-25 | Amended
Household Metering (PMP) | GUI_FINAL | GUI | 0.55185 | 2020-21 | Metering | 0.00015368 | 2020-21 | On-track |  | 0.0020702 | 2021-22 | On-track |  | 0.074338 | 2022-23 | Amended |  | 0.43079 | 2023-24 | Amended |  | 0.51556 | 2024-25 | Amended
Progressive metering USPL Saving | GUI_FINAL | GUI | 0.7946 | 2020-21 | Metering | 0 | 2020-21 | On-track |  | 0.0080237 | 2021-22 | On-track |  | 0.077405 | 2022-23 | Amended |  | 0.094856 | 2023-24 | Amended |  | 0.10536 | 2024-25 | Amended
Replacement meter USPL Saving | GUI_FINAL | GUI | 0 | N/A | Metering | 0.044837 | 2020-21 | Amended |  | 0.094575 | 2021-22 | Amended |  | 0.10539 | 2022-23 | Amended |  | 0.11387 | 2023-24 | Amended |  | 0.13185 | 2024-25 | Amended
SBF USPL Saving | GUI_FINAL | GUI | 0.086576 | 2020-21 | Metering | 0 | 2020-21 | On-track |  | 0 | 2021-22 | On-track |  | 0 | 2022-23 | Amended |  | 0 | 2023-24 | Amended |  | 0 | 2024-25 | Amended
LBF USPL Saving | GUI_FINAL | GUI | 0.0092259 | 2020-21 | Metering | 0.017996 | 2020-21 | Amended |  | 0.017996 | 2021-22 | Amended |  | 0.017996 | 2022-23 | Amended |  | 0.017996 | 2023-24 | Amended |  | 0.138 | 2024-25 | Amended
Household Metering (PMP) | SWA_FINAL | SWA | 0 | 2020-25 | Metering | 0 | 2020-21 | Amended |  | 0 | 2021-22 | Amended |  | 2.712e-05 | 2022-23 | Amended |  | 0.00044296 | 2023-24 | Amended |  | 0.18311 | 2024-25 | Amended
Progressive metering USPL Saving | SWA_FINAL | SWA | 0 | 2020-25 | Metering | 0 | 2020-21 | Amended |  | 0 | 2021-22 | Amended |  | 4.8837e-05 | 2022-23 | Amended |  | 0.00035814 | 2023-24 | Amended |  | 0.32641 | 2024-25 | Amended
Replacement meter USPL Saving | SWA_FINAL | SWA | 0 | 2020-25 | Metering | 0.040457 | 2020-21 | Amended |  | 0.074688 | 2021-22 | Amended |  | 0.091336 | 2022-23 | Amended |  | 0.11586 | 2023-24 | Amended |  | 0.1421 | 2024-25 | Amended
SBF USPL Saving | SWA_FINAL | SWA | 0 | 2020-25 | Metering | 0 | 2020-21 | Amended |  | 0 | 2021-22 | Amended |  | 0 | 2022-23 | Amended |  | 0 | 2023-24 | Amended |  | 0 | 2024-25 | Amended
LBF USPL Saving | SWA_FINAL | SWA | 0 | 2020-25 | Metering | 0.017996 | 2020-21 | Amended |  | 0.017996 | 2021-22 | Amended |  | 0.017996 | 2022-23 | Amended |  | 0.017996 | 2023-24 | Amended |  | 0.030496 | 2024-25 | Amended
Household Metering (PMP) | KV_FINAL | KV | 0 | 2020-25 | Metering | 0 | 2020-21 | Amended |  | 0 | 2021-22 | Amended |  | 1.808e-05 | 2022-23 | Amended |  | 0.00051528 | 2023-24 | Amended |  | 0.0799 | 2024-25 | Amended
Progressive metering USPL Saving | KV_FINAL | KV | 0 | 2020-25 | Metering | 0 | 2020-21 | Amended |  | 0 | 2021-22 | Amended |  | 3.2558e-05 | 2022-23 | Amended |  | 0.00063488 | 2023-24 | Amended |  | 0.13767 | 2024-25 | Amended
Replacement meter USPL Saving | KV_FINAL | KV | 0 | 2020-25 | Metering | 0.020345 | 2020-21 | Amended |  | 0.048998 | 2021-22 | Amended |  | 0.068612 | 2022-23 | Amended |  | 0.094493 | 2023-24 | Amended |  | 0.11785 | 2024-25 | Amended
SBF USPL Saving | KV_FINAL | KV | 0 | 2020-25 | Metering | 0 | 2020-21 | Amended |  | 0 | 2021-22 | Amended |  | 0 | 2022-23 | Amended |  | 9.9502e-05 | 2023-24 | Amended |  | 0 | 2024-25 | Amended
LBF USPL Saving | KV_FINAL | KV | 0 | 2020-25 | Metering | 0.017996 | 2020-21 | Amended |  | 0.017996 | 2021-22 | Amended |  | 0.017996 | 2022-23 | Amended |  | 0.017996 | 2023-24 | Amended |  | 0.128 | 2024-25 | Amended
Household Metering (PMP) | HENLEY_FINAL | HENLEY | 0 | 2020-25 | Metering | 0 | 2020-21 | Amended |  | 0 | 2021-22 | Amended |  | 0 | 2022-23 | Amended |  | 0 | 2023-24 | Amended |  | 0.013565 | 2024-25 | Amended
Progressive metering USPL Saving | HENLEY_FINAL | HENLEY | 0 | 2020-25 | Metering | 0 | 2020-21 | Amended |  | 0 | 2021-22 | Amended |  | 0 | 2022-23 | Amended |  | 0 | 2023-24 | Amended |  | 0.024419 | 2024-25 | Amended
Replacement meter USPL Saving | HENLEY_FINAL | HENLEY | 0 | 2020-25 | Metering | 0.0064329 | 2020-21 | Amended |  | 0.0064329 | 2021-22 | Amended |  | 0.0064329 | 2022-23 | Amended |  | 0.0072821 | 2023-24 | Amended |  | 0.010019 | 2024-25 | Amended
SBF USPL Saving | HENLEY_FINAL | HENLEY | 0 | 2020-25 | Metering | 0 | 2020-21 | Amended |  | 0 | 2021-22 | Amended |  | 0 | 2022-23 | Amended |  | 0 | 2023-24 | Amended |  | 0 | 2024-25 | Amended
LBF USPL Saving | HENLEY_FINAL | HENLEY | 0 | 2020-25 | Metering | 0 | 2020-21 | Amended |  | 0 | 2021-22 | Amended |  | 0 | 2022-23 | Amended |  | 0 | 2023-24 | Amended |  | 0.0125 | 2024-25 | Amended

## dropdowns (hidden)
Category (WRMP19) | Category (WRMP24) | Status
--select-- | --select-- | --select--
Supply-side 2020-25 | Supply-side 2025-30 | On-track
Demand-side 2020-25 | Demand-side 2025-30 | Deferred
Leakage 2020-25 | Leakage 2025-30 | Amended
Supply-side post 2024-25 | Supply-side post 2029-30 | Replaced
Internal interconnectors | Internal interconnectors | Other (explain in further information)
Metering | Metering
Other (explain in further information) | Other (explain in further information)